## CAES_CAP
Trans - Insert
~TFM_INS
| TimeSlice | LimType | Attribute | Year | Pset_PN | AllRegions
|  | UP | NCAP_BND | 0 | ESTCAESS00 | 2
|  | UP | NCAP_BND | 0 | P_ESTCAESS00 | 2
|  | FX | NCAP_BND | 2005 | ESTCAESS00
|  | FX | NCAP_BND | 2005 | P_ESTCAESS00
|  | LO | NCAP_BND |  | ESTCAESS102
|  | LO | NCAP_BND |  | P_ESTCAESS102

## AUXVARSOUT
|  |  |  | 6 | 7 | 8
|  |  |  | 2020 | 2030 | 2050 | [5 empty] | 2020 | 2030 | 2050
[8 empty] | ESTCAESS101 | DUMDCAES | ELCHIG | STG_EFF | 55.87% | 56.85% | 58.87%
[8 empty] | ESTCAESS102 | ELCHIG | ELCHIG | STG_EFF | 0.6 | 0.6993 | 0.72
~TFM_INS | [7 empty] | ESTHYDPS101 | ELCHIG | ELCHIG | STG_EFF | 0.82 | 0.84584 | 0.89
Attribute | PSET_PN | CSET_CN | Other_Indexes | AllRegions |  |  | WAS | ESTBATS101 | ELCHIG | ELCHIG | STG_EFF | 80% | 81.63% | 85%
FLO_FUNC | ESTCAESS101 | DUMSTOR | ELCHIG | 1 |  |  |  | ESTBATS102 | ELCHIG | ELCHIG | STG_EFF | 0.91 | 0.91332 | 0.92
FLO_FUNC | ESTCAESS102 | DUMSTOR | ELCHIG | 1 |  |  |  | ESTBATS103 | ELCHIG | ELCHIG | STG_EFF | 0.83 | 0.83661 | 0.85
FLO_FUNC | ESTHYDPS101 | DUMSTOR | ELCHIG | 1 |  |  |  | RSDBATS01 | ELCLOW | RSDELC | STG_EFF | 80% | 0.81633 | 0.85
FLO_FUNC | ESTBATS101 | DUMSTOR | ELCHIG | 1 |  |  |  | RSDBATS02 | ELCLOW | RSDELC | STG_EFF | 90% | 0.91332 | 0.92
FLO_FUNC | ESTBATS102 | DUMSTOR | ELCHIG | 1 |  |  |  | RSDBATS03 | ELCLOW | RSDELC | STG_EFF | 90% | 0.91332 | 0.92
FLO_FUNC | ESTBATS103 | DUMSTOR | ELCHIG | 1 |  |  |  | COMBATS01 | ELCLOW | COMELC | STG_EFF | 80% | 0.81633 | 0.85
FLO_FUNC | ESTCAESS201 | DUMSTOR | ELCHIG | 1 |  |  |  | COMBATS02 | ELCLOW | COMELC | STG_EFF | 90% | 0.91332 | 0.92
FLO_FUNC | ESTHYDPS201 | DUMSTOR | ELCHIG | 1 |  |  |  | COMBATS03 | ELCLOW | COMELC | STG_EFF | 90% | 0.91332 | 0.92
FLO_FUNC | ESTBATS201 | DUMSTOR | ELCHIG | 1
FLO_FUNC | ESTBATS202 | DUMSTOR | ELCHIG | 1
FLO_FUNC | ESTCAESS101 | ELCHIG | AUX_VARSOUT | 1.79 |  |  | 0.56
FLO_FUNC | ESTCAESS102 | ELCHIG | AUX_VARSOUT | 1.6667 |  |  | 0.7
FLO_FUNC | ESTHYDPS101 | ELCHIG | AUX_VARSOUT | 1.2195 |  |  | 0.8
FLO_FUNC | ESTBATS101 | ELCHIG | AUX_VARSOUT | 1.25 |  |  | 0.8
FLO_FUNC | ESTBATS102 | ELCHIG | AUX_VARSOUT | 1.0989 |  |  | 0.9
FLO_FUNC | ESTBATS103 | ELCHIG | AUX_VARSOUT | 1.2048 |  |  | 0.85
FLO_FUNC | ESTCAESS201 | ELCHIG | AUX_VARSOUT | 1.9608 |  |  | 0.51
FLO_FUNC | ESTHYDPS201 | ELCHIG | AUX_VARSOUT | 1.3333 |  |  | 0.75
FLO_FUNC | ESTBATS201 | ELCHIG | AUX_VARSOUT | 1.3333 |  |  | 0.75
FLO_FUNC | ESTBATS202 | ELCHIG | AUX_VARSOUT | 1.1765 |  |  | 0.85
FLO_FUNC | RSDBATS01 | DUMSTOR | ELCLOW | 1
FLO_FUNC | RSDBATS02 | DUMSTOR | ELCLOW | 1
FLO_FUNC | RSDBATS03 | DUMSTOR | ELCLOW | 1
FLO_FUNC | COMBATS01 | DUMSTOR | ELCLOW | 1
FLO_FUNC | COMBATS02 | DUMSTOR | ELCLOW | 1
FLO_FUNC | COMBATS03 | DUMSTOR | ELCLOW | 1
FLO_FUNC | RSDBATS01 | RSDELC | AUX_VARSOUT | 1.25 |  |  | 0.8
FLO_FUNC | RSDBATS02 | RSDELC | AUX_VARSOUT | 1.1111 |  |  | 0.9
FLO_FUNC | RSDBATS03 | RSDELC | AUX_VARSOUT | 1.1111 |  |  | 0.9
FLO_FUNC | COMBATS01 | COMELC | AUX_VARSOUT | 1.25 |  |  | 0.8
FLO_FUNC | COMBATS02 | COMELC | AUX_VARSOUT | 1.1111 |  |  | 0.9
FLO_FUNC | COMBATS03 | COMELC | AUX_VARSOUT | 1.1111 |  |  | 0.9

## ESS_Existing-Planned
Existing Capacities
Process | Attribute | Unit | - | AT | BE | BG | CH | CY | CZ | DE | DK | EE | ES | FI | FR | GR | HU | IE | IS | IT | LT | LU | LV | MT | NL | NO | PL | PT | RO | SE | SI | SK | UK | AL | BH | HR | ME | MK | RS
CAES | Plant name |  |  | DE: Huntorf Power Plant (e-on)
| Latitude |  |  | DE: 53.223
| Longitude |  |  | DE: 8.389
| Start | (year) |  | DE: 1978
| Roundtrip Efficiency | (%) |  | DE: 0.42
| Pumping Capacity | (MWel) |  | DE: 60
| Turbine Capacity | (MWel) |  | DE: 320
| Discharge time | hours |  | DE: 3
| Storage Capacity | (MWh) |  | DE: 960
| Investment cost | €(05)/kW |  | DE: 401.883
| AF | % |  | DE: 0.9
| Source |  |  | DE: (e)(g)(aa)(ab)
Planned capacities
Process | Attribute | Unit | Year | AT | BE | BG | CH | CY | CZ | DE | DK | EE | ES | FI | FR | GR | HU | IE | IS | IT | LT | LU | LV | MT | NL | NO | PL | PT | RO | SE | SI | SK | UK | AL | BH | HR | ME | MK | RS
A-CAES | Start | (year) |  | DE: 2016; IT: ?
| Storage Capacity | (MWh) |  | DE: 1000
| Turbine Capacity | (MWel) |  | DE: 300; IT: 25
| Efficiency | (%) |  | DE: 0.7
| Source |  |  | DE: (ab); IT: (g)(aa)
References
(e) | ENEL-Fondazione Energia, Report ENEL_2010_rev03, 2008
(g) | EC, JRC-IET, 2011 Technology Map of the European Strategic Energy Technology Plan (SET-Plan) - Technology Descriptions, JRC Scientific and Technical Reports.
(aa) | RSE, Studio si un sistema CAES, L. Augello, 2011
(ab) | RWE, 2010. Adele – Adiabatic compressed-air energy storage for electricity supply, Koln. <http://www.rwe.com/web/cms/en/365478/rwe/innovation/projects-technologies/energy-storage/project-adele/>

## List_of_References
List of references
(a) | Bjarne Steffen, Prospects for pumped-hydro storage in Germany, Energy Policy, Volume 45, June 2012, Pages 420-429, ISSN 0301-4215, 10.1016/j.enpol.2012.02.052. (http://0-www.sciencedirect.com.library.ucc.ie/science/article/pii/S0301421512001693)
(b) | Deane, J.P., Ó Gallachóir, B.P., McKeogh, E.J., 2010. Techno-economic review of existing and new pumped hydro energy storage plant, Renewable and Sustainable Energy Reviews, 14, 1293–1302
(c) | Bernardo Rangoni, A contribution on electricity storage: The case of hydro-pumped storage appraisal and commissioning in Italy and Spain, Utilities Policy, Volume 23, December 2012, Pages 31-39, ISSN 0957-1787, 10.1016/j.jup.2012.07.007. (http://0-www.sciencedirect.com.library.ucc.ie/science/article/pii/S095717871200046X)
(d) | Schluchseewerk, Pumped Storage Plant Atdorf, Dr. Nicolaus Römer, <https://www.google.it/url?sa=t&rct=j&q=&esrc=s&source=web&cd=1&cad=rja&ved=0CDIQFjAA&url=http%3A%2F%2Fwww.eurelectric.org%2Fdownload%2Fdownload.aspx%3FUserID%3D26196%26DocumentFileID%3D70444&ei=7QsRUa--KojYtAaQnIDwDw&usg=AFQjCNEgS-JoAvZepq1LqmJT9VU0NL5gWQ&bvm=bv.41934586,d.Yms>
(e) | ENEL-Fondazione Energia, Report ENEL_2010_rev03, 2008
(f) | Fraunhofer. Possible developments of Market Conditions determining the Economics of Large Scale CAES. 2009
(g) | EC, JRC-IET, 2011 Technology Map of the European Strategic Energy Technology Plan (SET-Plan) - Technology Descriptions, JRC Scientific and Technical Reports.
(h) | IEA-ETSAP and IRENA - Technology Policy Brief E18, Electricity Storage, 2012
(i) | EPRI-Electric energy storage a white paper primer on application costs and benefit_2010
(j) | EPRI, Compressed Air Energy Storage (CAES): Executive Summary, Robert B. Schainker, August 2010
(k) | EPRI, Energy Storage Overview, Dan Rastler
(l) | IEA, Prospects for Large-Scale Energy Storage in Decarbonised Power Grids, International Energy Agency, Paris, 2009
(m) | IRENA, Electricity Storage and Renewables for Island Power, 2012
(n) | Succar and Williams, CAES: Theory resources and applications for wind power, Priceton University, 2008
(o) | UCC, Study of Electricity Storage Technologies and their Potential to address wind energy intermittencu in Ireland. 2004
(p) | Díaz-González et al. A review of energy technologies for wind power applications. Renewable and Sustainable Energy Reviews 16 (2012) 2154–2171
(q) | Septimus van der Linden, Bulk energy storage potential in the USA, current developments and future prospects, Energy, Volume 31, Issue 15, December 2006, Pages 3446-3457, ISSN 0360-5442, 10.1016/j.energy.2006.03.016. (http://0-www.sciencedirect.com.library.ucc.ie/science/article/pii/S0360544206000740)
(r) | Haisheng Chen, Thang Ngoc Cong, Wei Yang, Chunqing Tan, Yongliang Li, Yulong Ding, Progress in electrical energy storage system: A critical review, Progress in Natural Science, Volume 19, Issue 3, 10 March 2009, Pages 291-312, ISSN 1002-0071, 10.1016/j.pnsc.2008.07.014.
(s) | THINK-EU FP7. Electricity Storage: How to Facilitate its Deployment and Operation in the EU. Topic 8. 2012
(t) | Øystein Ulleberg, Torgeir Nakken, Arnaud Eté, The wind/hydrogen demonstration system at Utsira in Norway: Evaluation of system performance using operational data and updated hydrogen energy system modeling tools, International Journal of Hydrogen Energy, Volume 35, Issue 5, March 2010, Pages 1841-1852, ISSN 0360-3199, 10.1016/j.ijhydene.2009.10.077.
(u) | IEA, Energy Technology Perspectives 2012
(v) | IFE, HSAPS Market Analysis Project
(w) | NREL, Lifecicle Cost analysis of Hydrogen Versus other technologies for Electrical Energy Storage_2009
(x) | IEA-ETSAP and IRENA - Technology Policy Brief E17, Thermal Energy Storage, 2012
(y) | Taylor, P., R. Bolton, D. Stone, X.P. Zhang, C. Martin and P. Upham (2012): Pathways for energy stor-age in the UK. Report 007/2012, published by the Centre for Low Carbon Futures.
(z) | REACCESS-EU FP7, Characterisation of Electricity Import Corridors – Export Potentials, Infrastructures and Costs. Technical Note TN 2.3. Final report - December 2009
(aa) | RSE, Studio si un sistema CAES, L. Augello, 2011
(ab) | RWE, 2010. Adele – Adiabatic compressed-air energy storage for electricity supply, Koln. <http://www.rwe.com/web/cms/en/365478/rwe/innovation/projects-technologies/energy-storage/project-adele/>
Potentials
(i) | Septimus van der Linden, Bulk energy storage potential in the USA, current developments and future prospects, Energy, Volume 31, Issue 15, December 2006, Pages 3446-3457, ISSN 0360-5442, 10.1016/j.energy.2006.03.016. (http://0-www.sciencedirect.com.library.ucc.ie/science/article/pii/S0360544206000740)
(ii) | Bjarne Steffen, Prospects for pumped-hydro storage in Germany, Energy Policy, Volume 45, June 2012, Pages 420-429, ISSN 0301-4215, 10.1016/j.enpol.2012.02.052. (http://0-www.sciencedirect.com.library.ucc.ie/science/article/pii/S0301421512001693)
(iii) | EURELECTRIC, RESAP - Hydro in Europe: Powering Renewables - Full Report, 2010
(iv) | THINK, Topic 8. Electricity Storage: How to Facilitate its Deployment and Operation in the EU. Final Report, 2012 (http://think.eui.eu)
(v) | Rodica Loisel, Arnaud Mercier, Christoph Gatzen, Nick Elms, Hrvoje Petric, Valuation framework for large scale electricity storage in a case with wind curtailment, Energy Policy, Volume 38, Issue 11, November 2010, Pages 7323-7337, ISSN 0301-4215, 10.1016/j.enpol.2010.08.007. (http://www.sciencedirect.com/science/article/pii/S030142151000594X)