## UC_VAR2_EXC
The presentation from Sylvain Quoilin showed that one of the important factors is the existence of
baseload plants. One way to include this is to change Demand by (Demand-BASELOADPRODUCTION)
We did this for the existing nuclears
~UC_Sets: R_E: AT,BE,BG,CY,CZ,DE,DK,EE,ES,FI,FR,EL,HU,HR,IE,IT,LT,LU,LV,MT,NL,PL,PT,RO,SE,SI,SK,UK,CH,NO,IS
DAYS | [13 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
~UC_T
UC_N | Pset_SET | Pset_PN | Pset_CI | Pset_CO | Attrib_Cond | Cset_CN | Attribute | Year | Timeslice | UC_RHSRTS~LO | UC_RHSRTS~LO~0 | UC_Desc | Allregions | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
UC_VAR2_EXC_Day_I1 |  | ELE_CONS_CAP |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD | 0 | 15 | Var RES excess DAYS Inclination1 |  | 0.28922 | 0.30976 | 0.32296 | 0.40212 | 0.34768 | 0.31222 | 0.47415 | 0.47415 | 0.40212 | 0.50142 | 0.50142 | 0.33203 | 0.3222 | 0.3222 | 0.29426 | 0.38556 | 0.43036 | 0.43036 | 0.44407 | 0.40212 | 0.44407 | 0.31528 | 0.37611 | 0.39185 | 0.43585 | 0.39185 | 0.43585 | 0.327 | 0.34768 | 0.30186 | 0.30186
|  | EN*,-ENFR*,-ENSE*,-ENUCH2* |  | ELCHIG | PASTI | ELCHIG | UC_FLO | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.28922 | -0.30976 | -0.32296 | -0.40212 | -0.34768 | -0.31222 | -0.47415 | -0.47415 | -0.40212 | -0.50142 | -0.50142 | -0.33203 | -0.3222 | -0.3222 | -0.29426 | -0.38556 | -0.43036 | -0.43036 | -0.44407 | -0.40212 | -0.44407 | -0.31528 | -0.37611 | -0.39185 | -0.43585 | -0.39185 | -0.43585 | -0.327 | -0.34768 | -0.30186 | -0.30186
|  | EUNUCLifeExt |  | ELCHIG |  | ELCHIG | UC_FLO | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.28922 | -0.30976 | -0.32296 | -0.40212 | -0.34768 | -0.31222 | -0.47415 | -0.47415 | -0.40212 | -0.50142 | -0.50142 |  | -0.3222 | -0.3222 | -0.29426 | -0.38556 | -0.43036 | -0.43036 | -0.44407 | -0.40212 | -0.44407 | -0.31528 | -0.37611 | -0.39185 |  | -0.39185 | -0.43585 | -0.327 | -0.34768 | -0.30186 | -0.30186
|  | ELE_VAR_3RES |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.575 | -0.605 | -0.614 | -0.616 | -0.611 | -0.551 | -0.766 | -0.703 | -0.616 | -0.732 | -0.607 | -0.543 | -0.622 | -0.603 | -0.553 | -0.648 | -0.742 | -0.489 | -0.775 | -0.616 | -0.57 | -0.596 | -0.63 | -0.652 | -0.735 | -0.654 | -0.646 | -0.559 | -0.631 | -0.461 | -0.461
|  | ELE_VAR_4IMP |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.575 | -0.605 | -0.614 | -0.616 | -0.611 | -0.551 | -0.766 | -0.703 | -0.616 | -0.732 | -0.607 | -0.543 | -0.622 | -0.603 | -0.553 | -0.648 | -0.742 | -0.489 | -0.775 | -0.616 | -0.57 | -0.596 | -0.63 | -0.652 | -0.735 | -0.654 | -0.646 | -0.559 | -0.631 | -0.461 | -0.461
|  | ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  | 1
Inclination2 is whenever the sum of WIND and PV is larger than 100% of demand, we assume the total amount is excess power (This is based on regressions as well)
Equation: EXC > RES - 0.6 *D
~UC_T
UC_N | Pset_SET | Pset_PN | Pset_CI | Pset_CO | Attrib_Cond | Cset_CN | Attribute | Year | Timeslice | UC_RHSRTS~LO | UC_RHSRTS~LO~0 | UC_Desc | Allregions | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
UC_VAR2_EXC_Day_I2 |  | ELE_CONS_CAP |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD | 0 | 15 | Var RES excess DAYS Inclination2 |  | 0.71422 | 0.70476 | 0.70896 | 0.78612 | 0.73668 | 0.76122 | 0.70815 | 0.77115 | 0.78612 | 0.76942 | 0.89442 | 0.78903 | 0.7002 | 0.7192 | 0.74126 | 0.73756 | 0.68836 | 0.94136 | 0.66907 | 0.78612 | 0.87408 | 0.71928 | 0.74611 | 0.73985 | 0.70086 | 0.73785 | 0.78985 | 0.768 | 0.71668 | 0.84086 | 0.84086
|  | EN*,-ENFR*,-ENSE*,-ENUCH2* |  | ELCHIG | PASTI | ELCHIG | UC_FLO | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.71422 | -0.70476 | -0.70896 | -0.78612 | -0.73668 | -0.76122 | -0.70815 | -0.77115 | -0.78612 | -0.76942 | -0.89442 | -0.78903 | -0.7002 | -0.7192 | -0.74126 | -0.73756 | -0.68836 | -0.94136 | -0.66907 | -0.78612 | -0.87408 | -0.71928 | -0.74611 | -0.73985 | -0.70086 | -0.73785 | -0.78985 | -0.768 | -0.71668 | -0.84086 | -0.84086
|  | EUNUCLifeExt |  | ELCHIG |  | ELCHIG | UC_FLO | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  |  | -0.71422 | -0.70476 | -0.70896 | -0.78612 | -0.73668 | -0.76122 | -0.70815 | -0.77115 | -0.78612 | -0.76942 | -0.89442 |  | -0.7002 | -0.7192 | -0.74126 | -0.73756 | -0.68836 | -0.94136 | -0.66907 | -0.78612 | -0.87408 | -0.71928 | -0.74611 | -0.73985 |  | -0.73785 | -0.78985 | -0.768 | -0.71668 | -0.84086 | -0.84086
|  | ELE_VAR_3RES |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  | -1
|  | ELE_VAR_4IMP |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  | -1
|  | ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | FD,FP,RD,RP,SD,SP,WD |  |  |  | 1
~UC_T
UC_N | Pset_SET | Pset_PN | Pset_CI | Pset_CO | Attrib_Cond | Cset_CN | Attribute | Year | Timeslice | UC_RHSRTS~LO | UC_RHSRTS~LO~0 | UC_Desc | Allregions | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
UC_VAR2_T1 |  | ELE_CONS_CAP |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN | 0 | 15 | Var RES Term 1 |  | 0.2394 | 0.41212 | 0.22646 | 0.26468 | 0.18726 | 0.27412 | 0.23349 | 0.30664 | 0.26468 | 0.26064 | 0.31227 | 0.14665 | 0.25337 | 0.17902 | 0.28235 | 0.18236 | 0.20371 | 0.20666 | 0.19292 | 0.26468 | 0.15437 | 0.198 | 0.31148 | 0.14137 | 0.29822 | 0.22746 | 0.20923 | 0.28234 | 0.25728 | 0.29707 | 0.29707
|  | EN*,-ENFR*,-ENSE*,-ENUCH2* |  | ELCHIG | PASTI | ELCHIG | UC_FLO | 2015 | FN,RN,SN,WN |  |  |  |  | -0.2394 | -0.41212 | -0.22646 | -0.26468 | -0.18726 | -0.27412 | -0.23349 | -0.30664 | -0.26468 | -0.26064 | -0.31227 | -0.14665 | -0.25337 | -0.17902 | -0.28235 | -0.18236 | -0.20371 | -0.20666 | -0.19292 | -0.26468 | -0.15437 | -0.198 | -0.31148 | -0.14137 | -0.29822 | -0.22746 | -0.20923 | -0.28234 | -0.25728 | -0.29707 | -0.29707
|  | EUNUCLifeExt |  | ELCHIG |  | ELCHIG | UC_FLO | 2015 | FN,RN,SN,WN |  |  |  |  | -0.2394 | -0.41212 | -0.22646 | -0.26468 | -0.18726 | -0.27412 | -0.23349 | -0.30664 | -0.26468 | -0.26064 | -0.31227 |  | -0.25337 | -0.17902 | -0.28235 | -0.18236 | -0.20371 | -0.20666 | -0.19292 | -0.26468 | -0.15437 | -0.198 | -0.31148 | -0.14137 |  | -0.22746 | -0.20923 | -0.28234 | -0.25728 | -0.29707 | -0.29707
|  | ELE_VAR_3WIWA |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  |  | -0.63 | -0.788 | -0.569 | -0.583 | -0.526 | -0.616 | -0.538 | -0.606 | -0.583 | -0.543 | -0.604 | -0.404 | -0.635 | -0.536 | -0.558 | -0.485 | -0.521 | -0.632 | -0.52 | -0.583 | -0.43 | -0.495 | -0.606 | -0.431 | -0.62 | -0.669 | -0.61 | -0.544 | -0.653 | -0.487 | -0.487
|  | ELE_VAR_4IMP |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  |  | -0.63 | -0.788 | -0.569 | -0.583 | -0.526 | -0.616 | -0.538 | -0.606 | -0.583 | -0.543 | -0.604 | -0.404 | -0.635 | -0.536 | -0.558 | -0.485 | -0.521 | -0.632 | -0.52 | -0.583 | -0.43 | -0.495 | -0.606 | -0.431 | -0.62 | -0.669 | -0.61 | -0.544 | -0.653 | -0.487 | -0.487
|  | ELE_VAR_T1 |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  | 1
~UC_T
UC_N | Pset_SET | Pset_PN | Pset_CI | Pset_CO | Attrib_Cond | Cset_CN | Attribute | Year | Timeslice | UC_RHSRTS~LO | UC_RHSRTS~LO~0 | UC_Desc | Allregions | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
UC_VAR2_T2 |  | ELE_CONS_CAP |  |  |  |  | UC_ACT | 2015 | FD,RD,SD,WD | 0 | 15 | Var RES Term 2 |  | 0.10868 | 0.07426 | 0.066234 | 0.057188 | 0.045513 | 0.049518 | 0.051408 | 0.0049395 | 0.057188 | 0.098262 | 0.048442 | 0.050941 | 0.15125 | 0.1127 | 0.050279 | 0.098262 | 0.037024 | 0.064476 | 0.033145 | 0.057188 | 0.041446 | 0.036284 | 0.23561 | 0.045214 | 0.07152 | 0.048374 | 0.068544 | 0.067179 | 0.10868 | 0.044131 | 0.044131
|  | EN*,-ENFR*,-ENSE*,-ENUCH2* |  | ELCHIG | PASTI | ELCHIG | UC_FLO | 2015 | FD,RD,SD,WD |  |  |  |  | -0.10868 | -0.07426 | -0.066234 | -0.057188 | -0.045513 | -0.049518 | -0.051408 | -0.0049395 | -0.057188 | -0.098262 | -0.048442 | -0.050941 | -0.15125 | -0.1127 | -0.050279 | -0.098262 | -0.037024 | -0.064476 | -0.033145 | -0.057188 | -0.041446 | -0.036284 | -0.23561 | -0.045214 | -0.07152 | -0.048374 | -0.068544 | -0.067179 | -0.10868 | -0.044131 | -0.044131
|  | EUNUCLifeExt |  | ELCHIG |  | ELCHIG | UC_FLO | 2015 | FD,RD,SD,WD |  |  |  |  | -0.10868 | -0.07426 | -0.066234 | -0.057188 | -0.045513 | -0.049518 | -0.051408 | -0.0049395 | -0.057188 | -0.098262 | -0.048442 |  | -0.15125 | -0.1127 | -0.050279 | -0.098262 | -0.037024 | -0.064476 | -0.033145 | -0.057188 | -0.041446 | -0.036284 | -0.23561 | -0.045214 |  | -0.048374 | -0.068544 | -0.067179 | -0.10868 | -0.044131 | -0.044131
|  | ELE_VAR_3RES |  |  |  |  | UC_ACT | 2015 | FD,RD,SD,WD |  |  |  |  | -0.209 | -0.188 | -0.133 | -0.116 | -0.117 | -0.126 | -0.119 | -0.0445 | -0.116 | -0.159 | -0.106 | -0.121 | -0.25 | -0.192 | -0.137 | -0.159 | -0.089 | -0.162 | -0.0755 | -0.116 | -0.106 | -0.0965 | -0.339 | -0.094 | -0.149 | -0.134 | -0.144 | -0.147 | -0.209 | -0.0839 | -0.0839
|  | ELE_VAR_3WIWA |  |  |  |  | UC_ACT | 2015 | FD,RD,SD,WD |  |  |  |  | 0.209 | 0.188 | 0.133 | 0.116 | 0.117 | 0.126 | 0.119 | 0.0445 | 0.116 | 0.159 | 0.106 | 0.121 | 0.25 | 0.192 | 0.137 | 0.159 | 0.089 | 0.162 | 0.0755 | 0.116 | 0.106 | 0.0965 | 0.339 | 0.094 | 0.149 | 0.134 | 0.144 | 0.147 | 0.209 | 0.0839 | 0.0839
|  | ELE_VAR_4IMP |  |  |  |  | UC_ACT | 2015 | FD,RD,SD,WD |  |  |  |  | -0.209 | -0.188 | -0.133 | -0.116 | -0.117 | -0.126 | -0.119 | -0.0445 | -0.116 | -0.159 | -0.106 | -0.121 | -0.25 | -0.192 | -0.137 | -0.159 | -0.089 | -0.162 | -0.0755 | -0.116 | -0.106 | -0.0965 | -0.339 | -0.094 | -0.149 | -0.134 | -0.144 | -0.147 | -0.209 | -0.0839 | -0.0839
|  | ELE_VAR_T2 |  |  |  |  | UC_ACT | 2015 | FD,RD,SD,WD |  |  |  | 1
Winter
~UC_T
UC_N | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Attribute | Year | Timeslice | UC_RHSRT~LO | UC_RHSRT~LO~0 | UC_Desc | Allregions
UC_VAR2_EXC_NightW | ELE_VAR_T1 |  |  |  |  | UC_ACT | 2015 | WN | 0 | 15 | Var RES excess Night Winter | -1
| ELE_VAR_T2 |  |  |  |  | UC_ACT | 2015 | WD |  |  |  | 1 |  | AT: As solar is reducing the Excess !
| ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | WN |  |  |  | 1
Spring
~UC_T
UC_N | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Attribute | Year | Timeslice | UC_RHSRT~LO | UC_RHSRT~LO~0 | UC_Desc | Allregions
UC_VAR2_EXC_NightR | ELE_VAR_T1 |  |  |  |  | UC_ACT | 2015 | RN | 0 | 15 | Var RES excess Night Spring | -1
| ELE_VAR_T2 |  |  |  |  | UC_ACT | 2015 | RD |  |  |  | 1 |  | AT: As solar is reducing the Excess !
| ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | RN |  |  |  | 1
Summer
~UC_T
UC_N | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Attribute | Year | Timeslice | UC_RHSRT~LO | UC_RHSRT~LO~0 | UC_Desc | Allregions
UC_VAR2_EXC_NightS | ELE_VAR_T1 |  |  |  |  | UC_ACT | 2015 | SN | 0 | 15 | Var RES excess Night Summer | -1
| ELE_VAR_T2 |  |  |  |  | UC_ACT | 2015 | SD |  |  |  | 1 |  | AT: As solar is reducing the Excess !
| ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | SN |  |  |  | 1
Fall
~UC_T
UC_N | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Attribute | Year | Timeslice | UC_RHSRT~LO | UC_RHSRT~LO~0 | UC_Desc | Allregions
UC_VAR2_EXC_NightF | ELE_VAR_T1 |  |  |  |  | UC_ACT | 2015 | FN | 0 | 15 | Var RES excess Night Fall | -1
| ELE_VAR_T2 |  |  |  |  | UC_ACT | 2015 | FD |  |  |  | 1 |  | AT: As solar is reducing the Excess !
| ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | FN |  |  |  | 1
The second plane is somewhat lower thanks to the solar (we did not make it depend on solar as we assume it will be there anyhow)
~UC_T
UC_N | Pset_SET | Pset_PN | Pset_CI | Pset_CO | Attrib_Cond | Cset_CN | Attribute | Year | Timeslice | UC_RHSRTS~LO | UC_RHSRTS~LO~0 | UC_Desc | Allregions | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
UC_VAR2_EXC_WiWa_I2 |  | ELE_CONS_CAP |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN | 0 | 15 | Var RES excess WiWa Inclination2 |  | 0.71808 | 0.69838 | 0.7237 | 0.73887 | 0.70677 | 0.70764 | 0.7469 | 0.70558 | 0.73887 | 0.8159 | 0.75671 | 0.79359 | 0.76962 | 0.75573 | 0.77463 | 0.79562 | 0.71973 | 0.63914 | 0.70606 | 0.73887 | 0.76582 | 0.73928 | 0.94109 | 0.75558 | 0.74974 | 0.60683 | 0.66777 | 0.80551 | 0.71296 | 0.8542 | 0.8542
|  | EN*,-ENFR*,-ENSE*,-ENUCH2* |  | ELCHIG | PASTI | ELCHIG | UC_FLO | 2015 | FN,RN,SN,WN |  |  |  |  | -0.71808 | -0.69838 | -0.7237 | -0.73887 | -0.70677 | -0.70764 | -0.7469 | -0.70558 | -0.73887 | -0.8159 | -0.75671 | -0.79359 | -0.76962 | -0.75573 | -0.77463 | -0.79562 | -0.71973 | -0.63914 | -0.70606 | -0.73887 | -0.76582 | -0.73928 | -0.94109 | -0.75558 | -0.74974 | -0.60683 | -0.66777 | -0.80551 | -0.71296 | -0.8542 | -0.8542
|  | EUNUCLifeExt |  | ELCHIG |  | ELCHIG | UC_FLO | 2015 | FN,RN,SN,WN |  |  |  |  | -0.71808 | -0.69838 | -0.7237 | -0.73887 | -0.70677 | -0.70764 | -0.7469 | -0.70558 | -0.73887 | -0.8159 | -0.75671 |  | -0.76962 | -0.75573 | -0.77463 | -0.79562 | -0.71973 | -0.63914 | -0.70606 | -0.73887 | -0.76582 | -0.73928 | -0.94109 | -0.75558 |  | -0.60683 | -0.66777 | -0.80551 | -0.71296 | -0.8542 | -0.8542
|  | ELE_VAR_3WIWA |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  | -1
|  | ELE_VAR_4IMP |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  | -1
|  | ELE_VAR_2EXC |  |  |  |  | UC_ACT | 2015 | FN,RN,SN,WN |  |  |  | 1
Excess with 1 as VarRES is rather similar but the biggest difference is for lower shares of RES.
[14 empty] | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
[13 empty] | DAY | 0.28578 | 0.29524 | 0.29104 | 0.21388 | 0.26332 | 0.23878 | 0.29185 | 0.22885 | 0.21388 | 0.23058 | 0.10558 | 0.21097 | 0.2998 | 0.2808 | 0.25874 | 0.26244 | 0.31164 | 0.05864 | 0.33093 | 0.21388 | 0.12592 | 0.28072 | 0.25389 | 0.26015 | 0.29914 | 0.26215 | 0.21015 | 0.232 | 0.28332 | 0.15914 | 0.15914
[13 empty] | NIGHT | 0.3906 | 0.37588 | 0.34254 | 0.31832 | 0.33874 | 0.34188 | 0.30451 | 0.29936 | 0.31832 | 0.28236 | 0.29173 | 0.25735 | 0.38164 | 0.35698 | 0.27565 | 0.30264 | 0.31729 | 0.42534 | 0.32708 | 0.31832 | 0.27563 | 0.297 | 0.29452 | 0.28963 | 0.32178 | 0.44154 | 0.40077 | 0.26166 | 0.39572 | 0.18993 | 0.18993
[13 empty] | Difference | -0.10483 | -0.080636 | -0.051502 | -0.10443 | -0.075425 | -0.1031 | -0.012662 | -0.070518 | -0.10443 | -0.05178 | -0.18615 | -0.046377 | -0.081831 | -0.076172 | -0.016916 | -0.0402 | -0.005649 | -0.3667 | 0.003845 | -0.10443 | -0.14971 | -0.016284 | -0.040626 | -0.029484 | -0.022635 | -0.17939 | -0.19062 | -0.029664 | -0.1124 | -0.03079 | -0.03079
[14 empty] | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
[12 empty] | Maximum useful RES |  | 0.6094 | 0.62412 | 0.65746 | 0.68168 | 0.66126 | 0.65812 | 0.69549 | 0.70064 | 0.68168 | 0.71764 | 0.70827 | 0.74265 | 0.61837 | 0.64302 | 0.72435 | 0.69736 | 0.68271 | 0.57466 | 0.67292 | 0.68168 | 0.72437 | 0.703 | 0.70548 | 0.71037 | 0.67822 | 0.55846 | 0.59923 | 0.73834 | 0.60428 | 0.81007 | 0.81007
[12 empty] | Minimum dispatchable power so also minimum AF |  | 0.3906 | 0.37588 | 0.34254 | 0.31832 | 0.33874 | 0.34188 | 0.30451 | 0.29936 | 0.31832 | 0.28236 | 0.29173 | 0.25735 | 0.38163 | 0.35698 | 0.27565 | 0.30264 | 0.31729 | 0.42534 | 0.32708 | 0.31832 | 0.27563 | 0.297 | 0.29452 | 0.28963 | 0.32178 | 0.44154 | 0.40077 | 0.26166 | 0.39572 | 0.18993 | 0.18993
~TFM_INS
[8 empty] | Attribute | Year | Pset_Set | Pset_PN | Pset_CI | Cset_CN | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
[8 empty] | CEFF |  |  | LOWAF_E* | LowAF_Base | LowAF_Base_LowAF | 3.1557 | 3.2934 | 3.6545 | 3.9708 | 3.7007 | 3.6624 | 4.177 | 4.2594 | 3.9708 | 4.5563 | 4.3877 | 5.0771 | 3.2381 | 3.4888 | 4.6852 | 4.2065 | 3.9855 | 2.8723 | 3.8503 | 3.9708 | 4.6857 | 4.2983 | 4.34 | 4.4244 | 3.9223 | 2.7568 | 3.0671 | 4.9789 | 3.1105 | 7.3375 | 7.3375
MAKE THIS MS specific, split into DAY and NIGHT
[7 empty] | and have 2 versions depending on STORAGE |  |  |  |  | -0.76
~UC_T
|  | UC_N | Pset_Set | Pset_PN | Cset_CN | Attribute | UC_ATTR | Year | LimType | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc | AT | BE | BG | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IT | LT | LU | LV | MT | NL | PL | PT | RO | SE | SI | SK | UK | CH | IS | NO
|  | UC_VARI_UTILISATION_Base |  | ELE_VAR_1USE |  | UC_ACT | ACT,DAYNITE | 2015 | LO |  | 0 | 5 | Lower bound on ELC production from Base Plants with Low AF to simulate the reduction of AF | -0.57778 | -0.54056 | -0.46244 | -0.41048 | -0.45405 | -0.46098 | -0.38247 | -0.37232 | -0.41048 | -0.33981 | -0.35754 | -0.29468 | -0.55491 | -0.49528 | -0.3274 | -0.37877 | -0.40836 | -0.67315 | -0.42885 | -0.41048 | -0.32736 | -0.36771 | -0.36289 | -0.35352 | -0.41768 | -0.7217 | -0.60456 | -0.30225 | -0.59114 | -0.18693 | -0.18693
[5 empty] | LowAF_Base_LowAF |  |  | 2015 | LO | 1
|  |  | We removed this line as DAYNITE storage not endogenous any more | [6 empty] | UC_FLO
|  |  | AUX_VARSOUT |  | AUX_VARSOUT |  | DAYNITE | 2015 | LO | 1
0.0385
~UC_Sets: R_E: AllRegions
~UC_Sets: T_E:
~UC_T
|  | UC_N | Pset_Set | Pset_PN | Cset_CN | Attribute | UC_ATTR | Year | LimType | UC_COMPRD | UC_ACT | UC_RHSRTS | UC_RHSRTS~0 | AT: UC_Desc
|  | UC_VARI_UTILISATION_Peak |  | ELE_VAR_1USE |  |  | ACT,DAYNITE | 2015 | LO |  | -0.055 | 0 | 5 | AT: Lower bound on ELC production from Peak Plants with Low AF to simulate the impact of variability within a timeslice
[5 empty] | LowAF_Peak_LowAF |  |  | 2015 | LO | 1
|  |  | We removed this line as DAYNITE storage not endogenous any more | [6 empty] | UC_FLO
|  |  | AUX_VARSOUT |  | AUX_VARSOUT |  | DAYNITE | 2015 | LO | 1

## UC_StorageCompetition
~UC_Sets: R_E: AT,BE,BG,CY,CZ,DE,DK,EE,ES,FI,FR,EL,HU,HR,IE,IT,LT,LU,LV,MT,NL,PL,PT,RO,SE,SI,SK,UK,CH,NO,IS
No CAES as this is mainly for seasonal
~UC_T
UNITS | What to do with it ? |  | UC_N | Pset_SET | Pset_PN | Attribute | Year | UC_RHSRT~LO | UC_RHSRT~LO~0 | Allregions | UC_Desc
PJ | Provide 5 hour power demand |  | UC_VAR_MinStor5h |  | ELE_CONS_CAP | UC_ACT | 2030 | 0 | 15 | -0.15855 | Forcing investment in DayNight Storage Capacity so excluding the seasonal
GWh |  |  |  | STG | *BAT*,*ESTHYD* | UC_CAP | 2030 |  |  | 1
|  |  |  | STS | *BAT* | UC_CAP | 2030 |  |  | 1
GWh |  |  |  | STS | ESTHYD* | UC_CAP | 2030 |  |  | 8
PJ | Reducing the need for batteries or pumped hydro |  |  |  | ELE_VAR_5DSM | UC_ACT | 2030 |  |  | 1.3889
|  | 1 kWh | 3.6 MJ |  |  | 15% of the Heating or cooling requirements within a 24 hour period.
|  | 1 MWh | 3.6 GJ
|  | 1 GWh | 3.6 TJ |  |  | Example for 1 house with an annual space heating demand of 80 Gj
|  |  | 0.0036 PJ |  |  | HDD | 2000
|  | 1 TWh | 3.6 PJ |  |  | Days of heating | 200
|  | Belgium as example |  |  |  | 80 | 0.4 | GJ per day
|  | Demand |  |  |  |  | 0.06 | GJ per day
|  | 100 TWh | 360 PJ |  |  |  | 1.6667e-05 | GWh for 1 house
|  |  | 360 | PJ |  |  | 83.3333 | GWh in Belgium
|  |  | 0.20548 | PJ
|  |  | 57.0776 | GWh
0.15855
UC - Each Region/Period
~UC_Sets: R_E: AllRegions
~UC_Sets: T_E:
~UC_T
|  | UC_N | Pset_Set | Pset_PN | Pset_CI | Pset_PD | Pset_CO | Cset_CN | Attribute | Timeslice | Year | LimType | UC_CAP | UC_FLO | AllRegions | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
|  | UC_VARI_CAP_Charg |  | P*BAT*,P*EST*,ELCSOLCUR | [6 empty] | 2010 | LO | 1 |  |  | 0 | 5 | Lower bound on Capacity of storage and curtailment
|  |  |  | -EUCSP*101,-EUCSP*401,-EUCSP*501 | ELCSOL |  | ELCHIG,ELCMED,ELCLOW |  |  |  | 2010 | LO | -1
|  |  |  | ELE_CONS_CAP | [6 empty] | 2010 | LO | 0.8
|  |  |  | EN*,-ENFR*,-ENSE*,-ENUCH2* | [6 empty] | 2010 | LO | -0.8
Example
|  |  |  | Demand in a timeslice | 80 | GW
|  |  |  | PV installed | 130 | GW
|  |  |  | Nuclear | 30 | GW
|  |  |  | Storage minimum power ?? | 90 | GW
Note on K12: Antti-L: Capacity is Output-based. Assumed 8 hours' energy capacity.

## Output from R Regression
Name | rss | RSq | `Coefficients | Model | MS | Comment
Excess_Day_NoStor | 16.097 | 0.81107 | c(0.0252423322700995, 0.727642269675651) | 0.0252 + 0.728 * pmax(0, I(Wind+PV) - 0.445) | PL
Excess_Day_NoStor1 | 10.4509 | 0.79389 | c(0.0280775136417294, 0.844632244913326) | 0.0281 + 0.845 * pmax(0, I(Wind+PV) - 0.589) | ES
Excess_Day_NoStor10 | 21.0808 | 0.74766 | c(0.0386951485308787, 0.772357798476913) | 0.0387 + 0.772 * pmax(0, I(Wind+PV) - 0.474) | CH
Excess_Day_NoStor11 | 14.4874 | 0.80297 | c(0.0210437485380475, 0.710828360197244) | 0.021 + 0.711 * pmax(0, I(Wind+PV) - 0.462) | IE
Excess_Day_NoStor12 | 20.63 | 0.76344 | c(0.045853607986412, 0.856393182789071) | 0.0459 + 0.856 * pmax(0, I(Wind+PV) - 0.533) | SE
Excess_Day_NoStor13 | 14.0889 | 0.76907 | c(0.0206534017623461, 0.750436146987462) | 0.0207 + 0.75 * pmax(0, I(Wind+PV) - 0.509) | PT
Excess_Day_NoStor14 | 16.7661 | 0.81644 | c(0.0257644993196599, 0.785566513398617) | 0.0258 + 0.786 * pmax(0, I(Wind+PV) - 0.461) | AT
Excess_Day_NoStor15 | 18.1015 | 0.77728 | c(0.02086129302166, 0.713047661358213) | 0.0209 + 0.713 * pmax(0, I(Wind+PV) - 0.423) | BE
Excess_Day_NoStor16 | 13.8288 | 0.8278 | c(0.0219229755974959, 0.808448724129414) | 0.0219 + 0.808 * pmax(0, I(Wind+PV) - 0.482) | EL
Excess_Day_NoStor17 | 21.7767 | 0.75572 | c(0.0424837829453241, 0.771648871897414) | 0.0425 + 0.772 * pmax(0, I(Wind+PV) - 0.505) | FI
Excess_Day_NoStor18 | 22.7224 | 0.77918 | c(-0.023901429532139, 0.593680872806501) | -0.0239 + 0.594 * pmax(0, I(Wind+PV) - 0.242) | LT
Excess_Day_NoStor19 | 27.1309 | 0.72774 | c(0.0412163605131845, 0.760608366964601) | 0.0412 + 0.761 * pmax(0, I(Wind+PV) - 0.422) | LU
Excess_Day_NoStor2 | 15.4849 | 0.79983 | c(0.0225242793834225, 0.722378171351008) | 0.0225 + 0.722 * pmax(0, I(Wind+PV) - 0.476) | UK
Excess_Day_NoStor20 | 27.0458 | 0.77677 | c(-0.0245145699104431, 0.625331236385501) | -0.0245 + 0.625 * pmax(0, I(Wind+PV) - 0.243) | LV
Excess_Day_NoStor21 | 23.2245 | 0.77836 | c(-0.0228123073063871, 0.642208265852212) | -0.0228 + 0.642 * pmax(0, I(Wind+PV) - 0.255) | SK
Excess_Day_NoStor22 | 17.4995 | 0.78935 | c(0.0174924919422853, 0.688186633852471) | 0.0175 + 0.688 * pmax(0, I(Wind+PV) - 0.42) | NL
Excess_Day_NoStor23 | 14.8654 | 0.82033 | c(0.0353004649841806, 0.826544189886679) | 0.0353 + 0.827 * pmax(0, I(Wind+PV) - 0.504) | IT
Excess_Day_NoStor24 | 17.7671 | 0.78279 | c(0.0182963909423606, 0.681484484597432) | 0.0183 + 0.681 * pmax(0, I(Wind+PV) - 0.417) | DE
Excess_Day_NoStor25 | 13.4619 | 0.78569 | c(0.0172319506193033, 0.709312356597493) | 0.0172 + 0.709 * pmax(0, I(Wind+PV) - 0.487) | FR
Excess_Day_NoStor26 | 34.9293 | 0.73184 | c(0.0503585995060748, 0.805114758512775) | 0.0504 + 0.805 * pmax(0, I(Wind+PV) - 0.418) | SI
Excess_Day_NoStor27 | 21.2996 | 0.7941 | c(0.0462306868930626, 0.858689280187733) | 0.0462 + 0.859 * pmax(0, I(Wind+PV) - 0.486) | HR
Excess_Day_NoStor3 | 18.3189 | 0.79484 | c(0.0170026195620617, 0.695539339145764) | 0.017 + 0.696 * pmax(0, I(Wind+PV) - 0.39) | CZ
Excess_Day_NoStor4 | 19.7249 | 0.78654 | c(0.0341117157966377, 0.829748745894385) | 0.0341 + 0.83 * pmax(0, I(Wind+PV) - 0.476) | BG
Excess_Day_NoStor5 | 18.1821 | 0.72558 | c(0.0303343699117365, 0.728052718840001) | 0.0303 + 0.728 * pmax(0, I(Wind+PV) - 0.551) | NO
Excess_Day_NoStor6 | 14.9614 | 0.82005 | c(0.0340497379819579, 0.818256636720683) | 0.034 + 0.818 * pmax(0, I(Wind+PV) - 0.501) | RO
Excess_Day_NoStor7 | 17.4575 | 0.79646 | c(-0.0139049988684684, 0.58521197722007) | -0.0139 + 0.585 * pmax(0, I(Wind+PV) - 0.289) | DK
Excess_Day_NoStor8 | 19.739 | 0.7866 | c(0.0344189143864957, 0.789448237335067) | 0.0344 + 0.789 * pmax(0, I(Wind+PV) - 0.444) | HU
Excess_Day_NoStor9 | 27.7247 | 0.75353 | c(0.0499132118256172, 0.879739673753039) | 0.0499 + 0.88 * pmax(0, I(Wind+PV) - 0.521) | EE
Excess_Day_Stor | 12.5827 | 0.72601 | c(0.0148049290434185, 0.596068659274955) | 0.0148 + 0.596 * pmax(0, I(Wind+PV) - 0.529) | PL
Excess_Day_Stor1 | 9.2485 | 0.6304 | c(0.0196161901366503, 0.732346455919181) | 0.0196 + 0.732 * pmax(0, I(Wind+PV) - 0.685) | ES
Excess_Day_Stor10 | 20.3188 | 0.59601 | c(0.0288562111727911, 0.630980079959011) | 0.0289 + 0.631 * pmax(0, I(Wind+PV) - 0.551) | CH
Excess_Day_Stor11 | 9.9155 | 0.74045 | c(0.00534518462703228, 0.552524021630376) | 0.00535 + 0.553 * pmax(0, I(Wind+PV) - 0.52) | IE
Excess_Day_Stor12 | 14.1601 | 0.715 | c(0.0244668466154205, 0.73541745388672) | 0.0245 + 0.735 * pmax(0, I(Wind+PV) - 0.593) | SE
Excess_Day_Stor13 | 12.0174 | 0.63928 | c(0.0127254061460925, 0.630033328030734) | 0.0127 + 0.63 * pmax(0, I(Wind+PV) - 0.597) | PT
Excess_Day_Stor14 | 14.6791 | 0.70031 | c(0.0102277979548028, 0.575057177924666) | 0.0102 + 0.575 * pmax(0, I(Wind+PV) - 0.503) | AT
Excess_Day_Stor15 | 14.9032 | 0.68598 | c(0.0159621892250999, 0.605379384936973) | 0.016 + 0.605 * pmax(0, I(Wind+PV) - 0.512) | BE
Excess_Day_Stor16 | 11.0076 | 0.70723 | c(0.00997773251986939, 0.616038847632487) | 0.00998 + 0.616 * pmax(0, I(Wind+PV) - 0.563) | EL
Excess_Day_Stor17 | 13.9512 | 0.71147 | c(0.0183725177825238, 0.607460959562383) | 0.0184 + 0.607 * pmax(0, I(Wind+PV) - 0.547) | FI
Excess_Day_Stor18 | 17.3517 | 0.70285 | c(0.0292691996824419, 0.741696600920744) | 0.0293 + 0.742 * pmax(0, I(Wind+PV) - 0.58) | LT
Excess_Day_Stor19 | 26.843 | 0.61257 | c(-0.0162448841231228, 0.48860410892052) | -0.0162 + 0.489 * pmax(0, I(Wind+PV) - 0.282) | LU
Excess_Day_Stor2 | 9.5346 | 0.74898 | c(0.00663473843935359, 0.559031024886172) | 0.00663 + 0.559 * pmax(0, I(Wind+PV) - 0.54) | UK
Excess_Day_Stor20 | 20.4842 | 0.70822 | c(0.0290801357247612, 0.774541708410579) | 0.0291 + 0.775 * pmax(0, I(Wind+PV) - 0.573) | LV
Excess_Day_Stor21 | 23.8297 | 0.64413 | c(0.0205806640971022, 0.646172359882315) | 0.0206 + 0.646 * pmax(0, I(Wind+PV) - 0.495) | SK
Excess_Day_Stor22 | 13.0546 | 0.70984 | c(0.0101106338895359, 0.570494627731329) | 0.0101 + 0.57 * pmax(0, I(Wind+PV) - 0.513) | NL
Excess_Day_Stor23 | 13.8414 | 0.66053 | c(0.0247210599427348, 0.648106131086654) | 0.0247 + 0.648 * pmax(0, I(Wind+PV) - 0.595) | IT
Excess_Day_Stor24 | 15.7232 | 0.66636 | c(0.0129193864356446, 0.551182526396058) | 0.0129 + 0.551 * pmax(0, I(Wind+PV) - 0.498) | DE
Excess_Day_Stor25 | 9.2851 | 0.69433 | c(0.010036376978081, 0.542859492164178) | 0.01 + 0.543 * pmax(0, I(Wind+PV) - 0.559) | FR
Excess_Day_Stor26 | 34.6324 | 0.57405 | c(0.0354278544067866, 0.653962948491715) | 0.0354 + 0.654 * pmax(0, I(Wind+PV) - 0.5) | SI | > mean(abs(residuals(Prod))) gives as a result 0.06392485 so on average 6% even if the rsq is only 0.57
Excess_Day_Stor27 | 17.9798 | 0.67531 | c(0.0142601611845613, 0.621596579885123) | 0.0143 + 0.622 * pmax(0, I(Wind+PV) - 0.518) | HR
Excess_Day_Stor3 | 16.6482 | 0.6843 | c(0.0198495993460472, 0.611185056146234) | 0.0198 + 0.611 * pmax(0, I(Wind+PV) - 0.511) | CZ
Excess_Day_Stor4 | 14.1752 | 0.69586 | c(0.0124580702325352, 0.614159385317845) | 0.0125 + 0.614 * pmax(0, I(Wind+PV) - 0.526) | BG
Excess_Day_Stor5 | 11.4243 | 0.64613 | c(0.00523828273655135, 0.461469679792985) | 0.00524 + 0.461 * pmax(0, I(Wind+PV) - 0.535) | NO
Excess_Day_Stor6 | 11.5462 | 0.69714 | c(0.0211356368478957, 0.65207662028043) | 0.0211 + 0.652 * pmax(0, I(Wind+PV) - 0.601) | RO
Excess_Day_Stor7 | 13.2143 | 0.71707 | c(0.0295771930940387, 0.76591163682974) | 0.0296 + 0.766 * pmax(0, I(Wind+PV) - 0.619) | DK
Excess_Day_Stor8 | 19.0428 | 0.65385 | c(0.015599840472736, 0.603253194891644) | 0.0156 + 0.603 * pmax(0, I(Wind+PV) - 0.488) | HU
Excess_Day_Stor9 | 18.7161 | 0.69214 | c(0.0222538612645739, 0.703240113660565) | 0.0223 + 0.703 * pmax(0, I(Wind+PV) - 0.572) | EE
Excess_Night_NoStor | 3.1459 | 0.86281 | c(0.00875952482484567, 0.57856312506793) | 0.00876 + 0.579 * pmax(0, Wind - 0.361) | PL
Excess_Night_NoStor1 | 2.3523 | 0.84554 | c(0.00411923395345209, 0.543249629015847) | 0.00412 + 0.543 * pmax(0, Wind - 0.418) | ES
Excess_Night_NoStor10 | 5.5246 | 0.85687 | c(0.0130162306583121, 0.704716971584871) | 0.013 + 0.705 * pmax(0, Wind - 0.332) | CH
Excess_Night_NoStor11 | 2.0335 | 0.88792 | c(0.0032210010288214, 0.58993698810918) | 0.00322 + 0.59 * pmax(0, Wind - 0.419) | IE
Excess_Night_NoStor12 | 3.3649 | 0.89186 | c(0.00761512164861458, 0.66185664529888) | 0.00762 + 0.662 * pmax(0, Wind - 0.414) | SE
Excess_Night_NoStor13 | 2.7799 | 0.87472 | c(0.00749014017204523, 0.6002670646935) | 0.00749 + 0.6 * pmax(0, Wind - 0.411) | PT
Excess_Night_NoStor14 | 2.7484 | 0.92433 | c(0.00609645580138639, 0.629618914492702) | 0.0061 + 0.63 * pmax(0, Wind - 0.329) | AT
Excess_Night_NoStor15 | 3.2329 | 0.88903 | c(0.00620404122373961, 0.639650500053643) | 0.0062 + 0.64 * pmax(0, Wind - 0.348) | BE
Excess_Night_NoStor16 | 3.1229 | 0.8877 | c(0.0100628954194826, 0.622756482581326) | 0.0101 + 0.623 * pmax(0, Wind - 0.39) | EL
Excess_Night_NoStor17 | 4.125 | 0.86767 | c(0.014596032701313, 0.70193681724971) | 0.0146 + 0.702 * pmax(0, Wind - 0.47) | FI
Excess_Night_NoStor18 | 4.2384 | 0.85958 | c(0.0145039339351809, 0.644231261199972) | 0.0145 + 0.644 * pmax(0, Wind - 0.376) | LT
Excess_Night_NoStor19 | 9.4924 | 0.82963 | c(-0.00320007040804769, 0.592389215628917) | -0.0032 + 0.592 * pmax(0, Wind - 0.192) | LU
Excess_Night_NoStor2 | 1.8543 | 0.88476 | c(0.00516654213623653, 0.586252092452536) | 0.00517 + 0.586 * pmax(0, Wind - 0.448) | UK
Excess_Night_NoStor20 | 4.7392 | 0.86511 | c(0.0143884653894015, 0.652109544639636) | 0.0144 + 0.652 * pmax(0, Wind - 0.371) | LV
Excess_Night_NoStor21 | 5.1862 | 0.89119 | c(0.018817255062991, 0.744201548888103) | 0.0188 + 0.744 * pmax(0, Wind - 0.329) | SK
Excess_Night_NoStor22 | 2.2905 | 0.89549 | c(0.00238518935459511, 0.582791166371699) | 0.00239 + 0.583 * pmax(0, Wind - 0.359) | NL
Excess_Night_NoStor23 | 2.7947 | 0.82883 | c(0.00496557503472416, 0.501481057417076) | 0.00497 + 0.501 * pmax(0, Wind - 0.293) | IT
Excess_Night_NoStor24 | 4.7607 | 0.85053 | c(0.0071101672386448, 0.616796842203882) | 0.00711 + 0.617 * pmax(0, Wind - 0.351) | DE
Excess_Night_NoStor25 | 2.6179 | 0.88633 | c(0.00779899143408762, 0.65804340494772) | 0.0078 + 0.658 * pmax(0, Wind - 0.432) | FR
Excess_Night_NoStor26 | 6.511 | 0.85959 | c(0.0126880677207848, 0.693643876303272) | 0.0127 + 0.694 * pmax(0, Wind - 0.279) | SI
Excess_Night_NoStor27 | 3.1308 | 0.90796 | c(0.00915402525924201, 0.667057441517931) | 0.00915 + 0.667 * pmax(0, Wind - 0.335) | HR
Excess_Night_NoStor3 | 4.2206 | 0.87667 | c(0.012070990594672, 0.651086868208327) | 0.0121 + 0.651 * pmax(0, Wind - 0.345) | CZ
Excess_Night_NoStor4 | 4.0515 | 0.87157 | c(0.0182904068954206, 0.707081600619283) | 0.0183 + 0.707 * pmax(0, Wind - 0.398) | BG
Excess_Night_NoStor5 | 1.411 | 0.87948 | c(0.00358219131958978, 0.619731147596342) | 0.00358 + 0.62 * pmax(0, Wind - 0.546) | NO
Excess_Night_NoStor6 | 3.1206 | 0.89213 | c(0.0136046155516289, 0.598612691306056) | 0.0136 + 0.599 * pmax(0, Wind - 0.369) | RO
Excess_Night_NoStor7 | 2.5374 | 0.89909 | c(0.00451768436584312, 0.589761896179985) | 0.00452 + 0.59 * pmax(0, Wind - 0.368) | DK
Excess_Night_NoStor8 | 3.4498 | 0.89712 | c(0.0076336935054407, 0.623409052208442) | 0.00763 + 0.623 * pmax(0, Wind - 0.294) | HU
Excess_Night_NoStor9 | 2.8565 | 0.89342 | c(0.0103371443246586, 0.657531896301499) | 0.0103 + 0.658 * pmax(0, Wind - 0.425) | EE
Excess_Night_Stor | 2.4746 | 0.84725 | c(-0.00036835578822016, 0.494701010354719, -0.0965055583323859) | -0.000368 + 0.495 * pmax(0, Wind - 0.4) - 0.0965 * pmax(0, PV - 0.376) | PL
Excess_Night_Stor1 | 2.4504 | 0.7616 | c(-0.00994546060946949, 0.177469906242881, 0.429683780783246) | -0.00995 + 0.177 * pmax(0, Wind - 0.312) + 0.43 * pmax(0, Wind - 0.623) | ES
Excess_Night_Stor10 | 4.5672 | 0.84255 | c(0.00511868908444919, 0.652863631374863, -0.209000055621231) | 0.00512 + 0.653 * pmax(0, Wind - 0.394) - 0.209 * pmax(0, PV - 0.52) | CH
Excess_Night_Stor11 | 1.7146 | 0.86679 | c(0.00174141993509069, 0.558120219515222, -0.136867285821744) | 0.00174 + 0.558 * pmax(0, Wind - 0.506) - 0.137 * pmax(0, PV - 0.367) | IE
Excess_Night_Stor12 | 2.7463 | 0.86918 | c(-0.00223428115229376, 0.620238519637061, -0.14898923212983) | -0.00223 + 0.62 * pmax(0, Wind - 0.481) - 0.149 * pmax(0, PV - 0.48) | SE
Excess_Night_Stor13 | 2.7921 | 0.81684 | c(0.00146910895570196, 0.60567726272981, -0.339154157652301) | 0.00147 + 0.606 * pmax(0, Wind - 0.514) - 0.339 * pmax(0, PV - 0.695) | PT
Excess_Night_Stor14 | 2.5659 | 0.89158 | c(-0.00870722666095289, 0.369960317939808, 0.25918255624282) | -0.00871 + 0.37 * pmax(0, Wind - 0.329) + 0.259 * pmax(0, Wind - 0.562) | AT
Excess_Night_Stor15 | 3.5842 | 0.83616 | c(0.0122669479036714, -0.188218069765465, 0.788038012467041) | 0.0123 + 0.788 * pmax(0, Wind - 0.523) - 0.188 * pmax(0, PV - 0.395) | BE
Excess_Night_Stor16 | 2.5347 | 0.87103 | c(0.00544386246566697, 0.582516852214108, -0.116211233086017) | 0.00544 + 0.583 * pmax(0, Wind - 0.454) - 0.116 * pmax(0, PV - 0.493) | EL
Excess_Night_Stor17 | 2.7566 | 0.85445 | c(-0.00292733792561712, 0.604178867071888, -0.105805034866476) | -0.00293 + 0.604 * pmax(0, Wind - 0.517) - 0.106 * pmax(0, PV - 0.457) | FI
Excess_Night_Stor18 | 3.0637 | 0.84813 | c(-0.00178554175543106, 0.521205786085974, -0.0889962807095228) | -0.00179 + 0.521 * pmax(0, Wind - 0.391) - 0.089 * pmax(0, PV - 0.416) | LT
Excess_Night_Stor19 | 8.175 | 0.81817 | c(0.0014126505396128, 0.631594858264839, -0.16182355990149) | 0.00141 + 0.632 * pmax(0, Wind - 0.327) - 0.162 * pmax(0, PV - 0.398) | LU
Excess_Night_Stor2 | 1.4555 | 0.86845 | c(0.000445884041657167, 0.5440272552182, -0.146549640799324) | 0.000446 + 0.544 * pmax(0, Wind - 0.519) - 0.147 * pmax(0, PV - 0.457) | UK
Excess_Night_Stor20 | 3.5703 | 0.85093 | c(-0.00309579645925832, 0.519896307104632, -0.0754675373429599) | -0.0031 + 0.52 * pmax(0, Wind - 0.371) - 0.0755 * pmax(0, PV - 0.439) | LV
Excess_Night_Stor21 | 3.9265 | 0.88464 | c(0.000352933179839001, 0.610364677981313, -0.143603428308967) | 0.000353 + 0.61 * pmax(0, Wind - 0.343) - 0.144 * pmax(0, PV - 0.476) | SK
Excess_Night_Stor22 | 2.2084 | 0.85156 | c(-0.00746903453843476, -0.106473173052337, 0.430338112282257) | -0.00747 + 0.43 * pmax(0, Wind - 0.359) - 0.106 * pmax(0, PV - 0.391) | NL
Excess_Night_Stor23 | 2.1439 | 0.80468 | c(0.00148053072118884, 0.484945081485672, -0.158994157525125) | 0.00148 + 0.485 * pmax(0, Wind - 0.376) - 0.159 * pmax(0, PV - 0.618) | IT
Excess_Night_Stor24 | 4.1411 | 0.82542 | c(0.00606505088727629, 0.615886328619463, -0.125840131266354) | 0.00607 + 0.616 * pmax(0, Wind - 0.445) - 0.126 * pmax(0, PV - 0.393) | DE
Excess_Night_Stor25 | 2.9622 | 0.81613 | c(-0.0116269764757929, -0.120966552318045, 0.403659113314259) | -0.0116 + 0.404 * pmax(0, Wind - 0.363) - 0.121 * pmax(0, PV - 0.421) | FR
Excess_Night_Stor26 | 6.0479 | 0.8446 | c(0.0152845341905701, 0.668961314486941, -0.134297129168802) | 0.0153 + 0.669 * pmax(0, Wind - 0.34) - 0.134 * pmax(0, PV - 0.361) | SI
Excess_Night_Stor27 | 2.9271 | 0.88817 | c(0.00652866302769175, 0.635292152825334, -0.249687705166874) | 0.00653 + 0.635 * pmax(0, Wind - 0.399) - 0.25 * pmax(0, PV - 0.605) | HR
Excess_Night_Stor3 | 3.4232 | 0.86467 | c(-0.00184817297926156, 0.526287611986932, -0.116704610688495) | -0.00185 + 0.526 * pmax(0, Wind - 0.356) - 0.117 * pmax(0, PV - 0.389) | CZ
Excess_Night_Stor4 | 3.1386 | 0.86338 | c(-0.000244792119324938, 0.568929968549377, -0.133301021924818) | -0.000245 + 0.569 * pmax(0, Wind - 0.398) - 0.133 * pmax(0, PV - 0.498) | BG
Excess_Night_Stor5 | 1.2694 | 0.82047 | c(-0.03656241324283, 0.486527781896671, 0.0838558350987015) | -0.0366 + 0.487 * pmax(0, Wind - 0.61) + 0.0839 * pmax(0, 0.526 - PV) | NO
Excess_Night_Stor6 | 2.5676 | 0.87315 | c(-0.00590708915480108, -0.0939905738402516, 0.430593338448018) | -0.00591 + 0.431 * pmax(0, Wind - 0.328) - 0.094 * pmax(0, PV - 0.481) | RO
Excess_Night_Stor7 | 2.1707 | 0.87226 | c(-0.00273202452863686, 0.537915401428409, -0.119481329922644) | -0.00273 + 0.538 * pmax(0, Wind - 0.434) - 0.119 * pmax(0, PV - 0.432) | DK
Excess_Night_Stor8 | 2.9181 | 0.87561 | c(-0.00250994363620121, 0.535650236369526, -0.191785754976754) | -0.00251 + 0.536 * pmax(0, Wind - 0.334) - 0.192 * pmax(0, PV - 0.587) | HU
Excess_Night_Stor9 | 1.9223 | 0.88123 | c(0.00642357177302158, 0.60632142178389, -0.0444768224220375) | 0.00642 + 0.606 * pmax(0, Wind - 0.506) - 0.0445 * pmax(0, PV - 0.111) | EE

## Pivot Days
Sum of Excess with 0.75 as VarRES | Storage NOYES
MS | NO | YES | Grand Total
AT | 0.22715 | 0.14203 | 0.36918
BE | 0.23315 | 0.14399 | 0.37714
BG | 0.22742 | 0.13754 | 0.36496
CH | 0.21307 | 0.12557 | 0.33864
CZ | 0.25056 | 0.14603 | 0.39659
DE | 0.22677 | 0.13885 | 0.36562
DK | 0.26969 | 0.10035 | 0.37003
EE | 0.20152 | 0.12513 | 0.32665
EL | 0.21654 | 0.11519 | 0.33174
ES | 0.13605 | 0.04758 | 0.18363
FI | 0.18914 | 0.12322 | 0.31236
FR | 0.18647 | 0.10371 | 0.29018
HR | 0.22678 | 0.1443 | 0.37108
HU | 0.24143 | 0.15799 | 0.39942
IE | 0.20477 | 0.12719 | 0.33196
IT | 0.20344 | 0.10044 | 0.30388
LT | 0.30175 | 0.12614 | 0.42789
LU | 0.24961 | 0.22885 | 0.47846
LV | 0.31688 | 0.13718 | 0.45405
NL | 0.22704 | 0.13509 | 0.36213
NO | 0.14487 | 0.099115 | 0.24399
PL | 0.22204 | 0.13172 | 0.35376
PT | 0.18075 | 0.09639 | 0.27714
RO | 0.20368 | 0.097148 | 0.30083
SE | 0.18575 | 0.1154 | 0.30115
SI | 0.26726 | 0.1635 | 0.43076
SK | 0.31779 | 0.16473 | 0.48252
UK | 0.19783 | 0.11739 | 0.31522
Grand Total | 6.2692 | 3.5917 | 9.8609

## Days
| Example | VarRes | Excess DK | Excess ES | Useful DK | Useful ES
|  | 0.2 |  |  | 0.2 | 0.2
|  | 0.3 |  |  | 0.3 | 0.3
|  | 0.4 |  |  | 0.4 | 0.4
|  | 0.5 |  |  | 0.5 | 0.5
|  | 0.6 | -0.014554 |  | 0.61455 | 0.6
|  | 0.7 | 0.062046 | 0.01098 | 0.63795 | 0.68902
|  | 0.8 | 0.13865 | 0.08418 | 0.66135 | 0.71582
|  | 0.9 | 0.21525 | 0.15738 | 0.68475 | 0.74262
|  | 1 | 0.29185 | 0.23058 | 0.70815 | 0.76942 | [13 empty] | 1.1
|  |  | =0.85VarRES-0.4d is zero with VarRES=0.4/0.85 | [13 empty] | ORGINAL VALUES |  | MAX | MAX
MS | Incl | Breakpoint | Factor to be used | NOSTOR Excess with 0.75 as VarRES | NOSTOR Excess with 1 as VarRES |  |  | Incl | Breakpoint | Factor to be used | STOR Excess with 0.75 as VarRES | STOR Excess with 1 as VarRES | MS |  |  |  | ELE_CONS_CAP | ELE_VAR_3RES | ELE_CONS_CAP | ELE_VAR_3RES
AT | -0.786 | 0.461 | 0.36235 | 0.22715 | 0.42365 |  | 1.4632 | -0.575 | 0.503 | 0.28922 | 0.14203 | 0.28578 | AT | 1.6379 | 0.13788 | AT | 0.28922 | -0.575 | 0.28922 | -0.575 | 0 | 0.28578
BE | -0.713 | 0.423 | 0.3016 | 0.23315 | 0.4114 |  |  | -0.605 | 0.512 | 0.30976 | 0.14399 | 0.29524 | BE |  | 0.11616 | BE | 0.30976 | -0.605 | 0.30976 | -0.605 | 0 | 0.29524
BG | -0.83 | 0.476 | 0.39508 | 0.22742 | 0.43492 |  |  | -0.614 | 0.526 | 0.32296 | 0.13754 | 0.29104 | BG |  | 0.14388 | BG | 0.32296 | -0.614 | 0.32296 | -0.614 | 0 | 0.29104
CH | -0.772 | 0.474 | 0.36593 | 0.21307 | 0.40607 |  |  | -0.631 | 0.551 | 0.34768 | 0.12557 | 0.28332 | CH |  | 0.12275 | CY | 0.40212 | -0.703 | 0.40212 | -0.616 | 999 | 0.21388
CZ | -0.696 | 0.39 | 0.27144 | 0.25056 | 0.42456 |  |  | -0.611 | 0.511 | 0.31222 | 0.14603 | 0.29878 | CZ |  | 0.12578 | CZ | 0.34768 | -0.631 | 0.34768 | -0.611 | 999 | 0.26332
DE | -0.681 | 0.417 | 0.28398 | 0.22677 | 0.39702 |  |  | -0.551 | 0.498 | 0.2744 | 0.13885 | 0.2766 | DE |  | 0.12042 | DE | 0.31222 | -0.611 | 0.31222 | -0.551 | 999 | 0.23878
DK | -0.585 | 0.289 | 0.16906 | 0.26969 | 0.41593 |  |  | -0.766 | 0.619 | 0.47415 | 0.10035 | 0.29185 | DK |  | 0.12409 | DK | 0.2744 | -0.551 | 0.47415 | -0.766 | 0 | 0.29185
EE | -0.88 | 0.521 | 0.45848 | 0.20152 | 0.42152 |  |  | -0.703 | 0.572 | 0.40212 | 0.12513 | 0.30088 | EE |  | 0.12064 | EE | 0.47415 | -0.766 | 0.47415 | -0.703 | 999 | 0.22885
EL | -0.808 | 0.482 | 0.38946 | 0.21654 | 0.41854 |  |  | -0.616 | 0.563 | 0.34681 | 0.11519 | 0.26919 | EL |  | 0.14935 | EL | 0.40212 | -0.703 | 0.40212 | -0.616 | 999 | 0.21388
ES | -0.845 | 0.589 | 0.4977 | 0.13605 | 0.3473 |  |  | -0.732 | 0.685 | 0.50142 | 0.04758 | 0.23058 | ES |  | 0.11672 | ES | 0.34681 | -0.616 | 0.50142 | -0.732 | 0 | 0.23058
FI | -0.772 | 0.505 | 0.38986 | 0.18914 | 0.38214 |  |  | -0.607 | 0.547 | 0.33203 | 0.12322 | 0.27497 | FI |  | 0.10717 | FI | 0.50142 | -0.732 | 0.50142 | -0.607 | 999 | 0.10558
FR | -0.709 | 0.487 | 0.34528 | 0.18647 | 0.36372 |  |  | -0.543 | 0.559 | 0.30354 | 0.10371 | 0.23946 | FR |  | 0.12425 | FR | 0.33203 | -0.607 | 0.33203 | -0.543 | 999 | 0.21097
HR | -0.859 | 0.486 | 0.41747 | 0.22678 | 0.44153 |  |  | -0.622 | 0.518 | 0.3222 | 0.1443 | 0.2998 | HR |  | 0.14172 | HR | 0.30354 | -0.543 | 0.3222 | -0.622 | 0 | 0.2998
HU | -0.789 | 0.444 | 0.35032 | 0.24143 | 0.43868 |  |  | -0.603 | 0.488 | 0.29426 | 0.15799 | 0.30874 | HU |  | 0.12995 | HU | 0.3222 | -0.622 | 0.3222 | -0.603 | 999 | 0.2808
IE | -0.711 | 0.462 | 0.32848 | 0.20477 | 0.38252 |  |  | -0.553 | 0.52 | 0.28756 | 0.12719 | 0.26544 | IE |  | 0.11708 | IE | 0.29426 | -0.603 | 0.29426 | -0.553 | 999 | 0.25874
IT | -0.827 | 0.504 | 0.41681 | 0.20344 | 0.41019 |  |  | -0.648 | 0.595 | 0.38556 | 0.10044 | 0.26244 | IT |  | 0.14775 | IT | 0.28756 | -0.553 | 0.38556 | -0.648 | 0 | 0.26244
LT | -0.594 | 0.242 | 0.14375 | 0.30175 | 0.45025 |  |  | -0.742 | 0.58 | 0.43036 | 0.12614 | 0.31164 | LT |  | 0.13861 | LT | 0.38556 | -0.648 | 0.43036 | -0.742 | 0 | 0.31164
LU | -0.761 | 0.422 | 0.32114 | 0.24961 | 0.43986 |  |  | -0.489 | 0.282 | 0.1379 | 0.22885 | 0.3511 | LU |  | 0.088756 | LU | 0.43036 | -0.742 | 0.43036 | -0.489 | 999 | 0.05864
LV | -0.625 | 0.243 | 0.15187 | 0.31688 | 0.47313 |  |  | -0.775 | 0.573 | 0.44407 | 0.13718 | 0.33093 | LV |  | 0.1422 | LV | 0.1379 | -0.489 | 0.44407 | -0.775 | 0 | 0.33093
NL | -0.688 | 0.42 | 0.28896 | 0.22704 | 0.39904 |  |  | -0.57 | 0.513 | 0.29241 | 0.13509 | 0.27759 | NL |  | 0.12145 | MT | 0.40212 | -0.703 | 0.40212 | -0.616 | 999 | 0.21388
NO | -0.728 | 0.551 | 0.40113 | 0.14487 | 0.32687 |  |  | -0.461 | 0.535 | 0.24664 | 0.099115 | 0.21436 | NO |  | 0.11251 | NL | 0.44407 | -0.775 | 0.44407 | -0.57 | 999 | 0.12592
PL | -0.728 | 0.445 | 0.32396 | 0.22204 | 0.40404 |  |  | -0.596 | 0.529 | 0.31528 | 0.13172 | 0.28072 | PL |  | 0.12332 | PL | 0.29241 | -0.57 | 0.31528 | -0.596 | 0 | 0.28072
PT | -0.75 | 0.509 | 0.38175 | 0.18075 | 0.36825 |  |  | -0.63 | 0.597 | 0.37611 | 0.09639 | 0.25389 | PT |  | 0.11436 | PT | 0.24664 | -0.461 | 0.37611 | -0.63 | 0 | 0.25389
RO | -0.818 | 0.501 | 0.40982 | 0.20368 | 0.40818 |  |  | -0.652 | 0.601 | 0.39185 | 0.097148 | 0.26015 | RO |  | 0.14803 | RO | 0.31528 | -0.596 | 0.39185 | -0.652 | 0 | 0.26015
SE | -0.856 | 0.533 | 0.45625 | 0.18575 | 0.39975 |  |  | -0.735 | 0.593 | 0.43585 | 0.1154 | 0.29914 | SE |  | 0.10061 | SE | 0.37611 | -0.63 | 0.43585 | -0.735 | 0 | 0.29914
SI | -0.805 | 0.418 | 0.33649 | 0.26726 | 0.46851 |  |  | -0.654 | 0.5 | 0.327 | 0.1635 | 0.327 | SI |  | 0.14151 | SI | 0.39185 | -0.652 | 0.39185 | -0.654 | 999 | 0.26215
SK | -0.642 | 0.255 | 0.16371 | 0.31779 | 0.47829 |  |  | -0.646 | 0.495 | 0.31977 | 0.16473 | 0.32623 | SK |  | 0.15206 | SK | 0.43585 | -0.735 | 0.43585 | -0.646 | 999 | 0.21015
UK | -0.722 | 0.476 | 0.34367 | 0.19783 | 0.37833 |  |  | -0.559 | 0.54 | 0.30186 | 0.11739 | 0.25714 | UK |  | 0.12119 | UK | 0.327 | -0.654 | 0.327 | -0.559 | 999 | 0.232
[8 empty] | -0.616 |  | 0.34681 |  |  | CY |  |  | CH | 0.31977 | -0.646 | 0.34768 | -0.631 | 0 | 0.28332
[8 empty] | -0.616 |  | 0.34681 |  |  | MT |  |  | IS | 0.30186 | -0.559 | 0.30186 | -0.461 | 999 | 0.15914
[8 empty] | -0.461 |  | 0.24664 |  |  | IS |  |  | NO | 0.30186 | -0.559 | 0.30186 | -0.461 | 999 | 0.15914

## Nights
MS | Incl | Breakpoint Wind | Factor to be used | NOSTOR Excess with 0.75 as VarRES | NOSTOR Excess with 1 as VarRES
SI | -0.694 | 0.279 | 0.19363 | 0.32687 | 0.50037
SK | -0.744 | 0.329 | 0.24478 | 0.31322 | 0.49922
LU | -0.592 | 0.192 | 0.11366 | 0.33034 | 0.47834
CH | -0.705 | 0.332 | 0.23406 | 0.29469 | 0.47094
HR | -0.667 | 0.335 | 0.22345 | 0.27681 | 0.44356
HU | -0.623 | 0.294 | 0.18316 | 0.28409 | 0.43984
CZ | -0.651 | 0.345 | 0.22459 | 0.26366 | 0.42641
BG | -0.707 | 0.398 | 0.28139 | 0.24886 | 0.42561
AT | -0.63 | 0.329 | 0.20727 | 0.26523 | 0.42273
BE | -0.64 | 0.348 | 0.22272 | 0.25728 | 0.41728
LV | -0.652 | 0.371 | 0.24189 | 0.24711 | 0.41011
LT | -0.644 | 0.376 | 0.24214 | 0.24086 | 0.40186
DE | -0.617 | 0.351 | 0.21657 | 0.24618 | 0.40043
SE | -0.662 | 0.414 | 0.27407 | 0.22243 | 0.38793
EL | -0.623 | 0.39 | 0.24297 | 0.22428 | 0.38003
EE | -0.658 | 0.425 | 0.27965 | 0.21385 | 0.37835
RO | -0.599 | 0.369 | 0.22103 | 0.22822 | 0.37797
FR | -0.658 | 0.432 | 0.28426 | 0.20924 | 0.37374
NL | -0.583 | 0.359 | 0.2093 | 0.22795 | 0.3737
DK | -0.59 | 0.368 | 0.21712 | 0.22538 | 0.37288
FI | -0.702 | 0.47 | 0.32994 | 0.19656 | 0.37206
PL | -0.579 | 0.361 | 0.20902 | 0.22523 | 0.36998
IT | -0.501 | 0.293 | 0.14679 | 0.22896 | 0.35421
PT | -0.6 | 0.411 | 0.2466 | 0.2034 | 0.3534
IE | -0.59 | 0.419 | 0.24721 | 0.19529 | 0.34279
UK | -0.586 | 0.448 | 0.26253 | 0.17697 | 0.32347
ES | -0.543 | 0.418 | 0.22697 | 0.18028 | 0.31603
NO | -0.62 | 0.546 | 0.33852 | 0.12648 | 0.28148

## Nights Stor
[7 empty] | Demand | 100
| WIND | WIND |  | SOLAR | SOLAR |  | Wind | 100
| Incl | Breakp | Factor to be used | Incl | Breakp | Factor to be used | Solar | 200
[7 empty] | TOTAL | FN | FD
PL | -0.495 | 0.4 | 0.198 | -0.0965 | 0.376 | 0.036284 | 14.0284 | 29.7 | -15.6716 | -15.6716
ES | -0.543 | 0.48 | 0.26064 | -0.159 | 0.618 | 0.098262 | 6.2622 | 28.236 | -21.9738 | -21.9738
CH | -0.653 | 0.394 | 0.25728 | -0.209 | 0.52 | 0.10868 | 8.6398 | 39.5718 | -30.932 | -30.932
IE | -0.558 | 0.506 | 0.28235 | -0.137 | 0.367 | 0.050279 | 5.1931 | 27.5652 | -22.3721 | -22.3721
SE | -0.62 | 0.481 | 0.29822 | -0.149 | 0.48 | 0.07152 | 9.53 | 32.178 | -22.648 | -22.648
PT | -0.606 | 0.514 | 0.31148 | -0.339 | 0.695 | 0.23561 | -14.7879 | 29.4516 | -44.2395 | -44.2395
AT | -0.63 | 0.38 | 0.2394 | -0.209 | 0.52 | 0.10868 | 8.128 | 39.06 | -30.932 | -30.932
BE | -0.788 | 0.523 | 0.41212 | -0.188 | 0.395 | 0.07426 | 7.4136 | 37.5876 | -30.174 | -30.174
EL | -0.583 | 0.454 | 0.26468 | -0.116 | 0.493 | 0.057188 | 14.3506 | 31.8318 | -17.4812 | -17.4812
FI | -0.604 | 0.517 | 0.31227 | -0.106 | 0.457 | 0.048442 | 12.8174 | 29.1732 | -16.3558 | -16.3558
LT | -0.521 | 0.391 | 0.20371 | -0.089 | 0.416 | 0.037024 | 17.6313 | 31.7289 | -14.0976 | -14.0976
LU | -0.632 | 0.327 | 0.20666 | -0.162 | 0.398 | 0.064476 | 16.5812 | 42.5336 | -25.9524 | -25.9524
UK | -0.544 | 0.519 | 0.28234 | -0.147 | 0.457 | 0.067179 | 3.4843 | 26.1664 | -22.6821 | -22.6821
LV | -0.52 | 0.371 | 0.19292 | -0.0755 | 0.439 | 0.033145 | 20.9224 | 32.708 | -11.7856 | -11.7856
SK | -0.61 | 0.343 | 0.20923 | -0.144 | 0.476 | 0.068544 | 18.1314 | 40.077 | -21.9456 | -21.9456
NL | -0.43 | 0.359 | 0.15437 | -0.106 | 0.391 | 0.041446 | 10.5076 | 27.563 | -17.0554 | -17.0554
IT | -0.485 | 0.376 | 0.18236 | -0.159 | 0.618 | 0.098262 | 8.2902 | 30.264 | -21.9738 | -21.9738
DE | -0.616 | 0.445 | 0.27412 | -0.126 | 0.393 | 0.049518 | 13.9398 | 34.188 | -20.2482 | -20.2482
FR | -0.404 | 0.363 | 0.14665 | -0.121 | 0.421 | 0.050941 | 6.6289 | 25.7348 | -19.1059 | -19.1059
SI | -0.669 | 0.34 | 0.22746 | -0.134 | 0.361 | 0.048374 | 22.1914 | 44.154 | -21.9626 | -21.9626
HR | -0.635 | 0.399 | 0.25337 | -0.25 | 0.605 | 0.15125 | 3.2885 | 38.1635 | -34.875 | -34.875
CZ | -0.526 | 0.356 | 0.18726 | -0.117 | 0.389 | 0.045513 | 15.0257 | 33.8744 | -18.8487 | -18.8487
BG | -0.569 | 0.398 | 0.22646 | -0.133 | 0.498 | 0.066234 | 14.2772 | 34.2538 | -19.9766 | -19.9766
NO | -0.487 | 0.61 | 0.29707 | -0.0839 | 0.526 | 0.044131 | 6.6261 | 18.993 | -12.3669 | -12.3669
RO | -0.431 | 0.328 | 0.14137 | -0.094 | 0.481 | 0.045214 | 14.6846 | 28.9632 | -14.2786 | -14.2786
DK | -0.538 | 0.434 | 0.23349 | -0.119 | 0.432 | 0.051408 | 11.7916 | 30.4508 | -18.6592 | -18.6592
HU | -0.536 | 0.334 | 0.17902 | -0.192 | 0.587 | 0.1127 | 8.568 | 35.6976 | -27.1296 | -27.1296
EE | -0.606 | 0.506 | 0.30664 | -0.0445 | 0.111 | 0.0049395 | 21.5303 | 29.9364 | -8.4061 | -8.4061

## Correlate Wind and MS Surface
| Surface | NOSTOR Excess with 0.75 as VarRES | Excess with 1 as VarRES | Area
SI | 20253 | 0.32687 | 0.50037 |  |  | km2
SK | 48845 | 0.31322 | 0.49922 |  | AT | 83858
LU | 2586 | 0.33034 | 0.47834 |  | BE | 30510
CH | 41285 | 0.29469 | 0.47094 |  | BG | 110912
HR | 56594 | 0.27681 | 0.44356 |  | CH | 41285
HU | 93030 | 0.28409 | 0.43984 |  | CY | 9250
CZ | 78866 | 0.26366 | 0.42641 |  | CZ | 78866
BG | 110912 | 0.24886 | 0.42561 |  | DE | 357021
AT | 83858 | 0.26523 | 0.42273 |  | DK | 43094
BE | 30510 | 0.25728 | 0.41728 |  | EE | 45226
LV | 64589 | 0.24711 | 0.41011 |  | ES | 504782
LT | 65200 | 0.24086 | 0.40186 |  | FI | 337030
DE | 357021 | 0.24618 | 0.40043 |  | FR | 643548
SE | 449964 | 0.22243 | 0.38793 |  | EL | 131957
EL | 131957 | 0.22428 | 0.38003 |  | HR | 56594
EE | 45226 | 0.21385 | 0.37835 |  | HU | 93030
RO | 238391 | 0.22822 | 0.37797 |  | IE | 70280
FR | 643548 | 0.20924 | 0.37374 |  | IS
NL | 41526 | 0.22795 | 0.3737 |  | IT | 301320
DK | 43094 | 0.22538 | 0.37288 |  | LT | 65200
FI | 337030 | 0.19656 | 0.37206 |  | LU | 2586
PL | 312685 | 0.22523 | 0.36998 |  | LV | 64589
IT | 301320 | 0.22896 | 0.35421 |  | MT | 316
PT | 92931 | 0.2034 | 0.3534 |  | NL | 41526
IE | 70280 | 0.19529 | 0.34279 |  | NO | 385203
UK | 244820 | 0.17697 | 0.32347 |  | PL | 312685
ES | 504782 | 0.18028 | 0.31603 |  | PT | 92931
NO | 385203 | 0.12648 | 0.28148 |  | RO | 238391
[5 empty] | SE | 449964
[5 empty] | SI | 20253
[5 empty] | SK | 48845
[5 empty] | UK | 244820
4905872