## AVAFS
AVAILABILITY FACTORS
~TFM_UPD
| TimeSlice | LimType | Attribute | Year | Attrib_Cond | Val_Cond | AllRegions | Pset_Set | Pset_PN | Pset_PD | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Cset_CD
Hydro peak | SP,WP,RP,FP |  | AF |  |  |  | 1 |  | EUHYDDAM00
availability

## EFFS
COPs FOR DH HEAT PUMPS
~TFM_DINS-TS
DH HPs | TimeSlice | LimType | Attribute | Other_Indexes | 2020 | 2025 | 2030 | 2040 | 2050 | Pset_Set | Pset_PN | Pset_PD | Pset_CI | Pset_CO | Cset_Set | Cset_CN
Assume same | W |  | ACT_EFF | ACT | 2.8754 | 2.8908 | 2.9064 | 3.5494 | 4.0369 |  | HHTHPMPA01
for all regions | R |  | ACT_EFF | ACT | 3.4373 | 3.4556 | 3.4741 | 4.5283 | 5.4399 |  | HHTHPMPA01
| S |  | ACT_EFF | ACT | 3.9927 | 4.0139 | 4.0352 | 5.4875 | 6.8025 |  | HHTHPMPA01
| F |  | ACT_EFF | ACT | 3.4373 | 3.4556 | 3.4741 | 4.5283 | 5.4399 |  | HHTHPMPA01
| W |  | ACT_EFF | ACT | 3.9222 | 3.9721 | 4.0226 | 5.9765 | 8.0554 |  | HHTHPMPE01
| R |  | ACT_EFF | ACT | 3.9222 | 3.9721 | 4.0226 | 5.9765 | 8.0554 |  | HHTHPMPE01
| S |  | ACT_EFF | ACT | 3.9222 | 3.9721 | 4.0226 | 5.9765 | 8.0554 |  | HHTHPMPE01
| F |  | ACT_EFF | ACT | 3.9222 | 3.9721 | 4.0226 | 5.9765 | 8.0554 |  | HHTHPMPE01
| W |  | ACT_EFF | ACT | 3.5044 | 3.5223 | 3.5402 | 4.5119 | 5.299 |  | HHTHPMPW01
| R |  | ACT_EFF | ACT | 3.6596 | 3.6782 | 3.6968 | 4.783 | 5.687 |  | HHTHPMPW01
| S |  | ACT_EFF | ACT | 3.8142 | 3.8335 | 3.853 | 5.0526 | 6.0718 |  | HHTHPMPW01
| F |  | ACT_EFF | ACT | 3.6596 | 3.6782 | 3.6968 | 4.783 | 5.687 |  | HHTHPMPW01
~TFM_DINS-TS
| TimeSlice | Region | Attribute | Other_Indexes | 2020 | 2025 | 2030 | 2040 | 2050 | Pset_Set | Pset_PN
|  | FI | NCAP_PASTI |  | 0.2 | 0.2 | 0.2 |  |  |  | HHTHPMPW01
|  | FI | NCAP_PASTI |  | 0.5 | 0.74 | 0.65 |  |  |  | HHTHELC001

## HPMARK
[6 empty] | 0.9 | 0.8 | [25 empty] | COM_IE
| ISO-2 | Country | DH_share_2025_pct | 2050_scenario_pct | GEO | 2025 | 2050 |  | Tech |  | Typical, potential share of DH heat supply | Max potential share | Description | [19 empty] | region | 2010
| AT | Austria | 23 | 50 | 0.15 | 0.24955 | 0.5376 |  | HP_wastewater |  | 15 | 30 | Large central heat pumps extracting heat from municipal wastewater / WWTP effluent (typically 10–20 °C). High baseload potential in dense cities. | [19 empty] | AL | 0.88327
| BE | Belgium | 1 | 60 | 0.05 | 0.011069 | 0.6567 |  | HP_water |  | 25 | 30 | Large seawater / lake / river / aquifer source HPs (5–15 °C). Often coastal or riverside baseload for DH. | [19 empty] | AT | 0.91336
| BG | Bulgaria | 25 | 40 | 0.05 | 0.28175 | 0.44484 |  | HP_industrial_excess |  | 22.5 | 30 | Heat pumps upgrading industrial / data-centre / commercial waste heat (often 30–60 °C already). Smaller temperature lift → very high COP. | [19 empty] | BE | 0.89326
| CY | Cyprus | 0 | 0 | 0.05 | 0 | 0 |  | HP_air_to_water |  | 10 | 20 | Large air-to-water HPs feeding DH or low-temp subnetworks. Highly seasonal; winter COP suffers in colder climates. | [19 empty] | BG | 0.87562
| CZ | Czechia | 21 | 40 | 0.05 | 0.24853 | 0.4646 | [25 empty] | CH | 0.88327
| DE | Germany | 9 | 60 | 0.15 | 0.097463 | 0.64403 |  |  |  | 2020 | 2050 | [20 empty] | CY | 0.88327
| DK | Denmark | 55 | 60 | 0.05 | 0.67182 | 0.71678 |  | Sytem efficiency |  | 0.85949 | 0.95 | [20 empty] | CZ | 0.82932
| EE | Estonia | 48 | 50 | 0.05 | 0.54669 | 0.5613 | [25 empty] | DE | 0.91529
| EL | Greece | 2 | 40 | 0.05 | 0.022364 | 0.44176 | [25 empty] | DK | 0.80068
| ES | Spain | 0 | 50 | 0.05 | 0 | 0.5522 |  | TechName |  |  |  | 2030 | 2050 | [18 empty] | EE | 0.86541
| FI | Finland | 46 | 50 | 0.05 | 0.49527 | 0.53394 |  | HHTHPMPA01 |  | 4 | 0.2 | -0.1719 | -0.19 | [18 empty] | EL | 0.88327
| FR | France | 6 | 40 | 0.15 | 0.062804 | 0.41658 |  | HHTHPMPE01 |  | 3 | 0.3 | -0.25785 | -0.285 | [18 empty] | ES | 0.88327
| HR | Croatia | 10 | 20 | 0.15 | 0.11325 | 0.22339 |  | HHTHPMPW01 |  | 1 | 0.3 | -0.25785 | -0.285 | [18 empty] | FI | 0.92119
| HU | Hungary | 11 | 40 | 0.15 | 0.11864 | 0.42782 | [25 empty] | FR | 0.95051
| IE | Ireland | 0 | 40 | 0.05 | 0 | 0.44176 | [25 empty] | HR | 0.87087
| IT | Italy | 4 | 50 | 0.25 | 0.040197 | 0.50218 | [25 empty] | HU | 0.91938
| LT | Lithuania | 46 | 50 | 0.05 | 0.52341 | 0.56082 | [25 empty] | IE | 0.88327
| LU | Luxembourg | 12 | 60 | 0.05 | 0.13418 | 0.66264 | [25 empty] | IS | 0.88986
| LV | Latvia | 41 | 50 | 0.05 | 0.4712 | 0.56582 | [25 empty] | IT | 0.99456
| MT | Malta | 0 | 0 | 0.05 | 0 | 0 | [25 empty] | LT | 0.86633
| NL | Netherlands | 5 | 60 | 0.05 | 0.05142 | 0.61512 | [25 empty] | LU | 0.88327
| PL | Poland | 25 | 40 | 0.05 | 0.27347 | 0.43321 | [25 empty] | LV | 0.85676
| PT | Portugal | 1 | 10 | 0.15 | 0.011182 | 0.11044 | [25 empty] | MT | 0.88327
| RO | Romania | 13 | 30 | 0.05 | 0.16058 | 0.36197 | [25 empty] | NL | 0.96936
| SE | Sweden | 48 | 60 | 0.05 | 0.49542 | 0.6171 | [25 empty] | NO | 0.80599
| SI | Slovenia | 14 | 40 | 0.05 | 0.16262 | 0.45697 | [25 empty] | PL | 0.90511
| SK | Slovakia | 18 | 40 | 0.05 | 0.20889 | 0.45659 | [25 empty] | PT | 0.88327
| NO | Norway | 10 | 20 | 0.05 | 0.12142 | 0.23767 | [25 empty] | RO | 0.7908
| UK | United Kingdom | 3 | 20 | 0.05 | 0.033546 | 0.22088 | [25 empty] | SE | 0.96549
| CH | Switzerland | 7 | 24 | 0.05 | 0.078273 | 0.26505 | [25 empty] | SI | 0.84667
| IS | Iceland | 90 | 90 | 1.001 | 0.99966 | 0.98807 | [25 empty] | SK | 0.84755
[33 empty] | UK | 0.88327
~UC_SETS: R_E: AllRegions
~UC_T: UC_COMPRD
UC_N | Pset_PN | Cset_CN | Other_Indexes | Year | UC_ATTR~RHS | LimType | UC_ACT | UC_UCN~2030 | UC_UCN~2050 | AT | BE | BG | CH | CY | CZ | DE | DK | EE | EL | ES | FI | FR | HR | HU | IE | IS | IT | LT | LU | LV | MT | NL | NO | PL | PT | RO | SE | SI | SK | UK | UC_RHSRT~0 | UC_RHSRT | UC_Desc
UC_DHTPOT |  | *-Spheat,*-WatHeat |  | 2025 |  | N |  |  |  | 0.24955 | 0.011069 | 0.28175 | 0.078273 | 0 | 0.24853 | 0.097463 | 0.67182 | 0.54669 | 0.022364 | 0 | 0.49527 | 0.062804 | 0.11325 | 0.11864 | 0 | 0.99966 | 0.040197 | 0.52341 | 0.13418 | 0.4712 | 0 | 0.05142 | 0.12142 | 0.27347 | 0.011182 | 0.16058 | 0.49542 | 0.16262 | 0.20889 | 0.033546 | 5 | -1 | DH Total potential of space heat
|  | *-Spheat,*-WatHeat |  | 2050 | [5 empty] | 0.5376 | 0.6567 | 0.44484 | 0.26505 | 0 | 0.4646 | 0.64403 | 0.71678 | 0.5613 | 0.44176 | 0.5522 | 0.53394 | 0.41658 | 0.22339 | 0.42782 | 0.44176 | 0.98807 | 0.50218 | 0.56082 | 0.66264 | 0.56582 | 0 | 0.61512 | 0.23767 | 0.43321 | 0.11044 | 0.36197 | 0.6171 | 0.45697 | 0.45659 | 0.22088
UC_DHPMPA | HHTHPMPA01 |  | UC_DHTPOT | 2025 | UCN,SYNC | UP | 1 | -0.1719 | -0.19 | [31 empty] | 5 | 0 | DH Heat Pump potential
UC_DHPMPE | HHTHPMPE01 |  | UC_DHTPOT | 2025 | UCN,SYNC | UP | 1 | -0.25785 | -0.285 | [31 empty] | 5 | 0 | DH Heat Pump potential
UC_DHPMPW | HHTHPMPW01 |  | UC_DHTPOT | 2025 | UCN,SYNC | UP | 1 | -0.25785 | -0.285 | [31 empty] | 5 | 0 | DH Heat Pump potential
UC_DHPGEO | HHTHGEO001 | HETHTH |  | 2030 |  | UP | 1 |  |  | -0.15 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.15 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.15 | -0.15 | -0.15 | -0.05 | -1.01 | -0.25 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.15 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | 5 | 0 | DH GEO potential

## TRA_CHARGE
Seasons | N. of Days
R | 75
S | 101
F | 79
W | 110
365
~TFM_INS | NOT USED FOR NOW as we do not use the night storage approach now !
TimeSlice | LimType | Attribute | Year | AllRegions | Test | Pset_Set | Pset_PN | Pset_PD | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Cset_CD
RD |  | PRC_NSTTS |  | 1 |  |  | TRABAT_Battery
SD |  | PRC_NSTTS |  | 1 |  |  | TRABAT_Battery
WD |  | PRC_NSTTS |  | 1 |  |  | TRABAT_Battery
FD |  | PRC_NSTTS |  | 1 |  |  | TRABAT_Battery
Default charging profile
~TFM_INS
TimeSlice | LimType | Attribute | Year | Other_Indexes | AllRegions | PSET_Set | PSET_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Top_Check
FD |  | COM_FR | 2020 |  | 0.1067 | [5 empty] | TRAELC_EV
FN |  | COM_FR | 2020 |  | 0.09719 | [5 empty] | TRAELC_EV
FP |  | COM_FR | 2020 |  | 0.012544 | [5 empty] | TRAELC_EV
RD |  | COM_FR | 2020 |  | 0.1013 | [5 empty] | TRAELC_EV
RN |  | COM_FR | 2020 |  | 0.092269 | [5 empty] | TRAELC_EV
RP |  | COM_FR | 2020 |  | 0.011909 | [5 empty] | TRAELC_EV
SD |  | COM_FR | 2020 |  | 0.13642 | [5 empty] | TRAELC_EV
SN |  | COM_FR | 2020 |  | 0.12426 | [5 empty] | TRAELC_EV
SP |  | COM_FR | 2020 |  | 0.016037 | [5 empty] | TRAELC_EV
WD |  | COM_FR | 2020 |  | 0.14858 | [5 empty] | TRAELC_EV
WN |  | COM_FR | 2020 |  | 0.13533 | [5 empty] | TRAELC_EV
WP |  | COM_FR | 2020 |  | 0.017466 | [5 empty] | TRAELC_EV